Copper Mountain

Community College District

Keenan & Associates  |  CA License No. 0451271

Emergency
Operations Plan

Table of Contents

Assumptions (Read Me First)	1

Format of this Plan	1

Promulgation	3

Collaborative Planning Team	4

Approval and Implementation	5

Record of Changes	6

Record of Distribution	7

Basic Plan	8

Purpose	9

Objectives	9

Scope	10

Emergency Management Phases	11

Situation Overview and Hazard Analysis	12

General Characteristics	12

Location	12

Copper Mountain College District – Boundary Map	13

Facilities	14

Site Characteristics	15

District Office	15

General Population	15

Building Information	15

General Information	15

District Office – Area Map	16

District Office – Site Map	17

Copper Mountain College Campus	18

General Population	18

Building Information	18

General Information	18

Copper Mountain College – Area Map	19

Copper Mountain College – Site Map	20

Base Programs Office – MCAGCC	21

General Population	21

Building Information	21

General Information	21

Students and Faculty at the base are include in the base emergency operations plan.	21

Base Programs Office – MCAGCC - Area Map	22

Base Programs Office – MCAGCC – Site Map	23

Planning Assumptions	24

Concept of Operations	25

Organization and Assignment of Responsibilities	26

Roles And Responsibilities	26

I – Senior Executive and Policy Group	26

Overarching Priorities	27

Essential Responsibilities	27

Cabinet Members	27

II – District Emergency Operations Center (DEOC)	27

DEOC Director	28

Public Information Officer (PIO)	28

Maintenance Staff	29

Secretary/Clerical	29

District Office Personnel	29

Other District Personnel	29

III – Campus	30

Incident Commander(s)	30

Faculty	30

Counselors	31

College Secretary	31

Custodians/Maintenance Personnel	31

Office Staff	32

Direction, Control, and Coordination	33

Incident Command System (ICS)	33

Figure 1. Incident Management Team Overview	34

Figure 2. Incident Management Team Detail	35

ICS Functional Areas	36

Command Staff:	36

Operations Section:	36

Planning Section:	36

Logistics Section:	37

Finance/Administration Section:	37

Working with Policy Group	37

Community Emergency Operations Plan (EOP)	38

Coordination with First Responders	38

Information Collection, Analysis, and Dissemination	39

Fire Conditions	39

Road Conditions	39

Seismic Conditions	39

Weather Conditions	39

Training and Exercises	40

Administration, Finance, And Logistics	41

Agreements and Contracts	41

Recordkeeping	41

Incident Costs	41

Preservation of Records	42

Plan Development and Maintenance	43

Authorities and References	43

Authorities	43

Federal	43

State	43

References	44

Federal	44

State	44

Functional Annex	45

Communications	46

Purpose	46

Scope	46

Activation	46

Key Tasks/Responsibilities	46

Internal Communications	47

Alert Notifications (SMS Texting)	47

Telephone Tree	47

Staff Meetings	47

Communication With the District Administrative Office	47

Activation	47

Concept of Operations	47

Continuity of Operations (COOP)	49

General	49

Scope	49

Responsibilities	49

Senior Executive/Site Administrator	49

Administrative Services, District Staff	50

Administrative Support Staff	50

Food Services Worker	50

Transportation	50

Evacuation	51

General	51

Concept of Operations	51

Evacuation Procedures	51

On-Site Evacuation	52

Off-Site Evacuation	52

Evacuating Students with Disabilities	52

Buildings and Facilities Signage Requirements	53

Preparation and Planning	53

Lockdown (Deny Entry or Closing)	55

General	55

Instructions	55

Public, Medical, and Mental Health	56

General	56

Public Health	56

Procedures	56

Medical Health	56

Procedures	56

Mental Health	57

Procedures	57

Public Safety and Security	58

Purpose	58

Scope	58

Key Tasks/Responsibilities	58

Concept of Operations	59

Recovery	60

General	60

Before – Action Items	60

During – Action Items	60

After – Action Items	62

Resources	62

Shelter-in-Place	63

General	63

Description of Action	63

Situational Awareness	64

Overview	64

OODA Loop	64

Prepare	64

Field Protocol	65

Disaster Service Worker	65

Hazard/Threat Annex	66

Hazard-Threat Assessment	67

HTAS Report	68

Active Assailant	69

General	69

Good Practice for Coping	69

Responding to an Active Assailant/Physical Threat	70

Run (evacuate)	70

Hide (lockdown)	70

Fight	71

Components of Training Exercises	72

Preparedness	72

Prevention	72

Bomb Threat or Explosion	74

General	74

Person Receiving Threat by Telephone	74

Person Receiving Threat by Mail	74

Incident Command Actions	74

Search Team Actions	75

Staff Actions	75

Civil Disobedience or Disturbance	76

Procedure:	76

Earthquake	78

Duck, Cover, and Hold	78

Description of Action	78

If inside	78

If outside	78

Procedures	78

During Non-Operating Hours	79

Extreme Heat and Unhealthy Air Quality	80

Purpose	80

Actions	80

District Activities and What To Do During Extreme Heat Conditions.	80

Fire - Structural	81

Procedure	81

Fire – Forest, Wildfire, or Urban Interface	82

General	82

Fire in Surrounding Area	82

Incident Command Actions	82

Before	82

During	82

After	83

Flood	85

General	85

Scope	85

Core Functions	85

Incident Command System	85

Operational Functions/Procedures That May Be Activated	85

Activating the District Emergency Operations Center (EOC)	86

Incident Command Actions	86

Office/Support Staff Actions	86

Staff Actions	86

Hazardous Materials Incident (HazMat)	87

Goals	87

Objectives	87

General	87

On-Site HazMat Incident	87

Off-Site HazMat Incident	87

Infectious Disease	89

Purpose	89

Disease Sources	89

Rate of Spread	90

Case	90

Outbreak	90

Epidemic	90

Pandemic	90

Situation and Assumptions	90

Figure 1: Infectious Disease Phases (WHO)	91

Concept of Operations	92

Level 3 (lowest level):	92

Level 2 (intermediate level):	92

Level 1 (highest level):	92

Continuity of Operations (Annex Specific)	92

Important Notice	92

Organization and Assignment of Responsibilities	93

Plan Development	93

Authorities and References	93

Incident Command Actions	94

Before	94

During	94

After	95

COVID-19 Specific Guidance	95

Landslides & Debris Flow	96

Before a Landslide	96

Recognize Warning Signs	97

During a Landslide	97

After a Landslide	98

Power/Utility Failure	99

Protect Students And Staff During A Power Outage	99

Electrical Systems	99

Backup Supplies and Other Resources	99

Survive During	100

Power Restoration	100

Severe Weather	101

General	101

Hazard Analysis	101

Severe Thunderstorms	101

Hail	101

Incident condition	101

Planning Facts and Assumptions	101

Transportation Incident (Air, Sea, Land)	102

Background	102

Air Transport	102

Marine Transport	102

Surface Transport	102

Vulnerability	102

Areas More Prone to Aviation Accidents	103

Consequences	103

## Assumptions (Read Me First)

This Emergency Operations Plan (EOP) is designed to be reader-friendly and avoids, as much as possible, technical jargon. However, you will better understand this plan and be equipped to manage incidents and crisis events by taking some preliminary, on-line courses. These courses are expected of you, if you are identified as a member of our District’s Emergency Operations team.

If you have never taken any Federal Emergency Management Administration (FEMA) courses or if it has been several years, you will need to register for a Student Identification Number (SID) at: https://cdp.dhs.gov/femasid. The SID will be necessary for all FEMA Independent Study (IS) course registrations and in order to take the exam for each class – retain the ID for our records

The courses you are expected to take, as a minimum, are as follows:

IS-100.C: Introduction to the Incident Command System

https://training.fema.gov/is/courseoverview.aspx?code=IS-100.c

IS-200.C: Basic Incident Command System for Initial Response

https://training.fema.gov/is/courseoverview.aspx?code=IS-200.c

IS-700.B: An Introduction to the National Incident Management System

https://training.fema.gov/IS/courseOverview.aspx?code=IS-700.b

There are many other online or in-person courses you could take, and these would only enhance your understanding of our plan and the methodology used both in California, and nationwide, for managing incidents.

### Format of this Plan

This plan follows current best practices and is formatted into three sections, as identified below (Figure 1). They are, the “Basic Plan,” the “Functional Annex,” and the “Hazard/Threat Annex.”

Figure 1

The Basic Plan section of the school EOP provides an overview of the school’s approach to emergency operations. Although the Basic Plan section guides the development of the more operationally oriented annexes, its primary audiences consist of the school, local emergency officials, and the community (as appropriate). The elements listed in this section should meet the needs of these audiences while providing a solid foundation for the development of supporting annexes.

The Functional Annexes section details the goals, objectives, and courses of action of functions (e.g., evacuation, communications, and recovery) that apply across multiple threats or hazards. Functional annexes set forth how the school manages a function before, during, and after an emergency.

The Threat and Hazard-Specific Annexes section specifies the goals, objectives, and courses of action that a school will follow to address a particular type of threat or hazard (e.g., hurricane, active assailant). Threat and hazard-specific annexes, like functional annexes, set forth how the school manages a function before, during, and after an emergency. (Excerpted from the Guide for Developing High-Quality School Emergency Operations Plans; copyright 2013.)

## Promulgation

Daren M. Otten, Ed.D
Superintendent/President
Copper Mountain Community Collge District

Emergency Operations Plan Promulgation

The primary role of government is to provide for the welfare of its citizens. The welfare and safety of citizens is never more threatened than during disasters. The goal of emergency management is to ensure that mitigation, preparedness, response, and recovery actions exist so that public welfare and safety is preserved.

The Copper Mountain Community College District Emergency Operations Plan provides a comprehensive framework for District-wide emergency management. It addresses the roles and responsibilities of government organizations and provides a link to local, State, Federal, and private organizations and resources that may be activated to address disasters and emergencies in Copper Mountain Community College District.

The Copper Mountain Community College District Emergency Operations Plan ensures consistency with current policy guidance and describes the interrelationship with other levels of government. The plan will continue to evolve, responding to lessons learned from actual disaster and emergency experiences, ongoing planning efforts, training and exercise activities, and Federal guidance.

Therefore, in recognition of the emergency management responsibilities of the Copper Mountain Community College District and with the authority vested in me as the Superintendent of Copper Mountain Community College District, I hereby promulgate the Copper Mountain Community College District Emergency Operations Plan.

Date

Daren M. Otten, Ed.D Superintendent/President Copper Mountain Community College District

## Collaborative Planning Team

This Emergency Operations Plan was developed under the leadership of a collaborative planning team. Representatives whose signatures appear below are standing members of that team.

| Kevin Cole Director of Facilities Copper Mt CCD |  | Meredith Plummer Chief Business Officer Copper Mt CCD |
| --- | --- | --- |

## Approval and Implementation

This plan supersedes the existing Copper Mountain Community College District Emergency Operations Plan.

The transfer of management authority for actions during an incident is done through the execution of a written delegation of authority from a District to the incident commander. This procedure facilitates the transition between incident management levels. The delegation of authority is a part of the briefing package provided to an incoming incident management team. It should contain both the delegation of authority and specific limitations to that authority.

The Copper Mountain Community College District Emergency Operations Plan delegates the Superintendent’s authority to specific individuals in the event that he or she is unavailable. The chain of succession in a major emergency or disaster is as follows:

- Chief Business Officer

- Vice President of Academic Affairs

- Vice President of Student Services

- Chief Human Resources Officer

Date

Daren M. Otten, Ed.D Superintendent/President Copper Mountain Community College District

## Record of Changes

| Change # | Date | Part Affected | Date Posted | Who Posted |
| --- | --- | --- | --- | --- |

## Record of Distribution

| Plan # | Office/Department | Representative | Signature |
| --- | --- | --- | --- |
| 01 | AP Keenan – IMReady | Eric Olson |  |
| 02 |  |  |  |
| 03 |  |  |  |
| 04 |  |  |  |
| 05 |  |  |  |
| 06 |  |  |  |
| 07 |  |  |  |
| 08 |  |  |  |
| 09 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |
| 16 |  |  |  |
| 17 |  |  |  |

# Basic Plan

## Purpose

The primary purpose of the Emergency Operations Plan (EOP) is to define roles and responsibilities at the site of incidence and between the site of incidence and District Office Administration. The EOP establishes the minimum requirements for school and site plans throughout our District. This Plan meets State of California Standardized Emergency Management System (SEMS) and the National Incident Management System (NIMS) requirements.

A “Multi-Hazard” approach is used as recommended by the Governor’s Office of Emergency Services (OES – California). Multi-Hazard emergency management focuses on similar responses for similar incidents. This makes our job easier because we do not have to use voluminous plans for figuring out what we are going to do. It is based on easy-to-remember instructions and ensures that all students, employees, and visitors (constituents) know what to do at any given time for any given incident.

If you are reading this Emergency Operations Plan for the first time, please don’t be overwhelmed by the notion that you have to know everything there is to know about emergency or incident management. Our expectation is that you will discover how to use this plan by understanding its format and scope. We work with our community and governmental organizations that have a responsibility in the school emergency operations plan to provide a cohesive, coordinated response to certain incidents.

Our primary objective will always be to protect the lives and welfare of students, employees, and visitors in the event of a disaster or emergency condition. We will provide shelter, evacuate, relocate, or redirect our students, employees, and visitors, when necessary in order to protect lives and welfare. We will continue or reconvene instruction as soon as is prudently possible. We will strive to protect and preserve District property.

## Objectives

To protect the lives and welfare of students, employees, and visitors (constituents) in the event of a disaster or emergency condition.

To shelter, evacuate, relocate, or redirect our students, employees, and visitors (constituents), when necessary, to protect lives and welfare.

To continue or reconvene instruction as soon as is safely and prudently possible.

To protect and preserve District property.

## Scope

SEMS AND NIMS

The Standardized Emergency Management System (SEMS) and the National Incident Management System (NIMS) are both very similar and utilize a standardized Incident Control System (ICS). They are considered transitional organizational structures that are used during an emergency or disaster. They remain in effect until school operations return to normal (pre-incident) conditions. This transitional organizational structure is based upon five principle activities performed at all emergency incidents. These are:

Command/Management - knowing who is in charge

Operations - personnel to respond to the emergency

Planning/Intel - getting the facts straight and planning for the future

Logistics - providing needed supplies and equipment

Finance/Admin - accounting and record keeping

The Incident Command System (ICS) organization allows for a modular and rapid expansion to meet the needs imposed by the scale of the emergency. An Incident Commander (IC) may implement the Site Plan for a site-specific event. The Superintendent will activate the District Emergency Operations Center when necessary, typically for larger, multi-site events. Delegation utilizing the Incident Command System (ICS) is from the top down and modular in nature so that only needed positions are filled. Ideally, no position directly supervises more than five subordinates.

When making assignments using this system it may be decided, due to the size of the site, that additional teams are needed, such as Search and Rescue. Additional teams can be assigned to cover this function. If, during a major disaster or crisis, all work for a particular function has been completed, those employees can be reassigned to different functions.

ICS can be used during any emergency at a school and is particularly useful for any kind of incident involving multiple school sites or outside agency involvement because of the standardized organization and terminology. ICS provides clear authority, direction, control, coordination, and communication during and following any emergency.

### Emergency Management Phases

The phases of an emergency or disaster situation are commonly placed into the following categories:

Preparedness

Includes plans or preparations made to save lives and to help response and rescue operations. Preparedness activities take place before an emergency occurs.

Response

Includes actions taken to save lives and prevent further property damage in an emergency situation. Response is putting our preparedness plans into action. Response activities take place during an emergency.

Recovery

Includes actions taken to return to a normal or an even safer situation following an emergency. Recovery activities take place after an emergency.

Prevention/Mitigation

Includes any activities that prevent an emergency, reduce the chance of an emergency happening, or reduce the damaging effects of unavoidable emergencies. Mitigation activities take place before and after emergencies

The majority of Preparedness, Prevention, and Mitigation activities generally occur before an incident, although these three mission areas do have ongoing activities that can occur throughout an incident. Response activities occur during an incident, and Recovery activities can begin during an incident and occur after an incident. To help avoid confusion over terms and allow for ease of reference, this guide uses “before,” “during,” and “after.” Collaboration between schools and community partners ensures the coordination of efforts and the integration of emergency management plans.

## Situation Overview and Hazard Analysis

Our District recognizes that it may respond to critical incidents or emergencies that occur within our jurisdiction. We are responsible for having an Emergency Operations Plan that addresses those risks which may occur and are within the scope of the District’s ability to respond.

In order to provide a framework for our District’s response to potential risks, we have conducted a Hazard/Threat Assessment (HTAS) and included the HTAS report at the beginning of the Hazard/Threat Annex. We have provided our plans for each identified risk in our Hazard/Threat Annex. Our District relies upon the emergency responders in our community, including San Bernardino County Sheriff’s Department, San Bernardino County Fire Department for services and support if the District is unable to address internally.

Our District utilizes the California Standardized Emergency Management System (SEMS), which fully complies, and in some cases exceeds the requirements of the National Incident Management System. SEMS is required by law in the State of California and utilizes a management tool called the Incident Command System (ICS) for managing emergencies and critical incidents that occur in California. More information on these items can be found in the Training and Exercises portion of the Basic Plan.

### General Characteristics

#### Location

The Copper Mountain College is located in the City of Joshua Tree near the geographic center of San Bernardino County in the High Desert of California. Copper Mountain College’s mission is to provide educational opportunities for diverse desert communities and beyond through a comprehensive curriculum and support services that demonstrate a passion for the success of every individual student. Copper Mountain College offers high quality, affordable instruction that enables students to attain mastery in basic skills and career development, as well as building pathways to associate degrees, certificates, university transfer, and personal enrichment

#### Copper Mountain College District – Boundary Map

### Facilities

This plan is intended to account for incidents and emergencies occurring throughout the District’s facilities, including:

District Support Facilities

Administration Building: Student Services/Admissions, Business Services/Facilities, HR, Academic Affairs, President’s Office

Public Safety Building: Campus Security

Maintenance/Operations and Shipping & Receiving Building

College Campuses

Copper Mountain College

Base Programs Office MCAGCC

### Site Characteristics

#### District Office

##### General Population

Current occupancy is approximately 202 staff.

##### Building Information

The site is located at 6162 Rotary Way, in the County of San Bernardino, in the City of Joshua Tree. The site contains all administrative offices that are not located on school sites and is comprised of 15 permanent building with 0 portable buildings.

##### General Information

Maps of the buildings annotated with evacuation routes, shelter locations, fire alarm pull stations, fire hydrants, fire extinguishers, first aid kits, hazardous materials storage, and utility shutoffs are maintained under separate cover. Incident Commanders will distribute instructions and locations for shutting off utilities in case of an emergency.

#### District Office – Area Map

#### District Office – Site Map

##### Copper Mountain College Campus

##### General Population

Enrollment is approximately 688 students. These students are supported by a committed staff and faculty consisting of:

| Count | Occupation |
| --- | --- |
| 13 | Administrators |
| 124 | Faculty and Specialists |
| 8 | Maintenance and Custodial Staff |
| 2 | Instructional Assistants |
| 55 | Office/Support Staff |

##### Building Information

The campus is located on a 68-acre lot and includes 15 buildings and 3 parking lots.

##### General Information

Maps of the buildings annotated with evacuation routes, shelter locations, fire alarm pull stations, fire hydrants, fire extinguishers, first aid kits, hazardous materials storage, and utility shutoffs are under maintained under separate cover. Incident Commanders will distribute instructions and locations for shutting off utilities in case of an emergency.

#### Copper Mountain College – Area Map

#### Copper Mountain College – Site Map

#### Base Programs Office – MCAGCC

##### General Population

Enrollment is approximately 291 students. These students are supported by a committed staff and faculty consisting of:

| Count | Occupation |
| --- | --- |
| 3 | Faculty and Specialists |
| 2 | Office/Support Staff |

##### Building Information

The campus is located on the Marine Air Ground Task Force Training Command And Marine Corps Air Ground Combat Center, Twentynine Palms.

##### General Information

Maps of the buildings annotated with evacuation routes, shelter locations, fire alarm pull stations, fire hydrants, fire extinguishers, first aid kits, hazardous materials storage, and utility shutoffs are under maintained under separate cover. Incident Commanders will distribute instructions and locations for shutting off utilities in case of an emergency

#### Students and Faculty at the base are include in the base emergency operations plan.

#### Base Programs Office – MCAGCC - Area Map

##### Base Programs Office – MCAGCC – Site Map

## Planning Assumptions

Effective prediction and warning systems have been established that make it possible to anticipate certain disaster situations that may occur throughout the District or the general area beyond the District’s boundaries.

It is assumed that any of the disaster contingencies could individually, or in combination, cause a grave emergency situation within the District. It is also assumed that these contingencies will vary in scope and intensity, from an area in which the devastation is isolated and limited, to one that is wide-ranging and extremely devastated. For this reason, planning efforts are made as general as possible so that great latitude is available in their application, considering they could occur in several locations simultaneously.

Initial actions to mitigate the effects of emergency situations or potential disaster conditions will be conducted as soon as possible by the District.

Assistance to the District by response organizations from the cities of Joshua Tree, as well as San Bernardino County is expected to supplement the efforts of the District in an efficient, effective, and coordinated response when District officials determine their own resources to be insufficient.

The California Office of Emergency Services, Inland Region Operational Area, Mutual Aid Region V will supplement, not substitute for, relief provided by local jurisdictions.

It is the responsibility of officials under this plan to save lives, protect property, relieve human suffering, sustain survivors, repair essential facilities, restore services, and protect the environment.

## Concept of Operations

The Superintendent of the Copper Mountain CCD has the authority to activate this plan, or in the absence of the Superintendent, another District manager who has been pre-designated in the Approval and Implementation section, has the authority to activate this plan. The nature of some responses taken by the District may be limited, based upon the scope of the incident. This is because the agencies responsible for resolving the most serious incidents are police, fire, emergency medical, emergency management, and utilities personnel. The District’s primary responsibility is to protect students and staff.

This plan is based upon the concept that the incident management functions that must be performed by the school generally parallel some of their routine day-to-day functions. To the extent possible, the same personnel and material resources used for day-to-day activities will be employed during incidents. Because personnel and equipment resources are limited, some routine functions that do not contribute directly to the incident may be suspended. The personnel, equipment, and supplies that would typically be required for those routine functions will be redirected to accomplish assigned incident management tasks.

In view of the District’s susceptibility and vulnerability to natural, technological, and national security emergencies; continuing emphasis is placed on:

Emergency planning

Protecting life (highest priority), property, and the environment

Training of all personnel on their emergency response duties

District-wide emergency response awareness and education

Meeting the immediate emergency needs of students, faculty, staff, and guests; which include rescue, medical care, food, and shelter

Ensuring the adequacy and availability of sufficient resources to cope with such emergencies

Mitigating hazards that pose a threat to life, property, and the environment

Concepts presented consider the full spectrum of emergency responses to a hazardous condition. Some emergencies, preceded by a buildup period, may provide advance warning, while other emergencies occur with little or no advance warning. In either event, all available elements of the District’s emergency management organization must respond promptly and effectively to minimize the damages caused to life, property, and operations.

## Organization and Assignment of Responsibilities

This section establishes the operational organization that will be relied on to manage the incident and includes:

A list of the kinds of tasks to be performed by function

An overview of who does what in the Incident Command System (ICS)

The District may not be able to manage all the aspects associated with an incident without assistance. The District relies on other key personnel to perform tasks that will ensure the safety of students and staff during a crisis or critical incident. The Incident Command System (ICS) uses a team approach to manage incidents. It is difficult to form a team while a crisis or critical incident is unfolding. Roles should be pre-assigned based on training and qualifications. Each staff member and volunteer must be familiar with his or her role and responsibilities before an incident occurs.

Local staff may be required to remain on site to assist in an incident. If the Emergency Operations Plan is activated, staff will be assigned to serve within the Incident Command System based on their expertise and training and the needs of the incident.

### Roles And Responsibilities

Roles and responsibilities exist at three levels – the “Senior Executive and Policy Group” which consists of the Superintendent and the Board of Trustees (Superintendent is the Board of Trustees point of connection to the District). The second is the District Emergency Operations Center (DEOC) and is typically staffed with upper and middle management. The third is the “Campus” level which would include all the operations and facilities of each campus or District site.

For a visual representation of these roles and responsibilities refer to “Figure 1. Incident Management Team Overview” located in the Direction, Control, and Coordination section of the Basic Plan.

### I – Senior Executive and Policy Group

When an Incident affects more than one site, or the site’s ability to respond appropriately, the Superintendent may decide to activate the District Emergency Operations Center (DEOC). The Superintendent’s decision includes the response level and activations necessary to appropriately staff the District Emergency Operation Center (DEOC) in response to the Incident. The Superintendent may delegate or reassign responsibilities to others to remain free to operate at a Cabinet or Policy/Coordination Group level and maintain communication with the Board of Trustees, other agencies, and/or the public.

#### Overarching Priorities

Life Safety: Ensure the safety and security of District students, staff, volunteers, and visitors, including first responders, support personnel, and the general population

Unity of Effort: Coordinate and prioritize activities across all organizations involved in the response, to achieve common objectives

Incident Stabilization: Establish leadership to stabilize the incident and reduce future impacts

Protect Property and Environment: Protect infrastructure assets, systems, and networks, whether physical or virtual

Recovery: Reestablish educational services and help the community return to a new normal

#### Essential Responsibilities

Ensure the continuity of government

Activate specific legal authorities (disaster declarations, evacuations, states of emergency, and other protective actions)

Coordinate with the PIO/Joint Information Center (JIC) to keep the media and public informed

Request assistance through the DEOC director

Resolve any resource allocation conflicts

Coordinate with other elected officials and senior executives, including local, county, state and Federal offices, legislative delegations, and other dignitaries, to implement protective actions and ensure constituents’ safety and welfare

Request and authorize release and approval of funding

Initiate Continuity of Operations (COOP) plan or Continuity of Government (COG) plan as required

Coordinate with all Incident Commanders (ICs) if multiple on-scene events occur.

##### Cabinet Members

Take direction from Superintendent and act as a liaison between administration and staff

### II – District Emergency Operations Center (DEOC)

Gathers and analyzes incident information

Provides situational assessments during an incident

Receives questions and concerns

#### DEOC Director

The DEOC Director, under the direction of the Superintendent shall have the primary responsibility for supporting and maintaining all communication and coordination for the District in an emergency or disaster.

Coordinates the District Crisis Response Team

Establishes an office communications center and assigns office personnel to duties in the emergency headquarters, or at specific facilities

Maintains communication and provides direction to individual school sites and appropriate office staff

Ensures a prearranged communication system is in place between the District office and the affected sites in the event the regular telephone system is disrupted by the conditions of the disaster or emergency

#### Public Information Officer (PIO)

Acts as the designated spokesperson for all disaster/emergency-related information in coordination with the DEOC Director and the Superintendent. Additional coordination may be necessary with incident commanders and City/County Offices of Emergency Services. The press should be handled by the PIO exclusively and permitted to approach staff and students only after it has been determined this contact will not cause any adverse effects.

The duties of the PIO may include preparation of press releases, communication with parents and with all outside agencies, establishment of on-site rumor control/information post, and other related duties:

Determine, according to direction from the IC, any limits on information release

Develop accurate, accessible, and timely information for use in press/media briefings

Obtain DEOC Director’s approval of news releases

Conduct periodic media briefings

Arrange for tours and other interviews or briefings that may be required

Monitor and forward media information that may be useful to incident planning

Maintain current information, summaries, and/or displays on the incident

Make information about the incident available to incident personnel

Participate in planning meetings

This section establishes the operational organization that will be relied on to manage the incident and includes:

A list of the kinds of tasks to be performed by position and organization

An overview of who does what

The District may not be able to manage all the aspects associated with an incident without assistance. The District relies on other key personnel to perform tasks that will ensure the safety of students and staff during a crisis or critical incident. The Incident Command System (ICS) uses a team approach to manage incidents. It is difficult to form a team, while a crisis or critical incident is unfolding. Roles should be pre-assigned based on training and qualifications. Each staff member and volunteer must be familiar with his or her role and responsibilities before an incident occurs.

Local staff may be required to remain at their site to assist in an incident. If this EOP is activated, staff will be assigned to serve within the Incident Command System based on their expertise and training and the needs of the incident.

#### Maintenance Staff

The maintenance staff will procure, distribute, and account for supplies, equipment, and other resources as needed. Maintenance personnel will be sent to District sites as needed, in order of highest to lowest priority. Assistance will be provided to the custodial staff at District sites as necessary, ensuring all gas, water, and electricity are shut off or provided under safe conditions.

Maintain tool inventory for emergency use

Check utility systems and appliances for damage

Shut off the main power and/or gas, if necessary

Fire control (Extinguish small fires before they get out of control)

Coordinate entrance and exits of emergency personnel and vehicles

Seal off and indicate areas where hazardous materials have been spilled

Other

#### Secretary/Clerical

Assist Superintendent as directed

Establish and coordinate Communication Center

#### District Office Personnel

Superintendent will assign staff (usually the District secretary and an assistant) to coordinate and operate the Communication Center.

Materials/Equipment

Emergency Operations Plan

Student rosters

Emergency cards

Office equipment such as tables, chairs, phones, battery-operated radio, two-way radio, bullhorn, copy machine, general office supplies

#### Other District Personnel

Perform duties as directed by their supervisors. In the event any District site personnel are in transit within the District when an emergency occurs (e.g., an earthquake), they are to report to the nearest District site as soon as it is safe to do so and report their location to their supervisors. (California Government Code, Ch.8, IV, Title 1)

### III – Campus

The on-site administrator typically assumes the role of Incident Commander (IC) in SEMS/NIMS, manages incidents at the site level based upon this Plan and relevant Incident Action Plans. The Incident Commander (IC) establishes a Command Post (CP) at the site and remains at the Command Post (CP) to direct and coordinate activities on behalf of the Site. The Incident Commander (IC) liaises with appropriate emergency and disaster service agencies responding to the Incident.

##### Incident Commander(s)

The role of an Incident Commander may only be transferred or discontinued under the authority of this plan when the incident has been deemed stabilized or inactive by the Superintendent or his designee. The Incident Commander may delegate that authority to a qualified individual following a transfer of command responsibility.

The Incident Commander’s responsibilities include:

Assume overall direction of all incident management procedures based on actions and procedures outlined in this EOP

Take steps deemed necessary to ensure the safety of students, staff, and other individuals

Determine whether to implement incident management protocols (e.g., Evacuation, Reverse Evacuation, Shelter in Place, Lockdown, etc.), as described more fully in the functional annexes in this document

Arrange for transfer of students, staff, and other individuals when safety is threatened by a disaster

Work with emergency services personnel (depending on the incident, community agencies such as law enforcement or fire department may have jurisdiction for investigations, rescue procedures, etc.)

Keep the Superintendent or his/her designee and other officials informed of the situation

Prepare the Incident Action Plan (IAP)

  - Can work alone in establishing the incident management objectives or can include the input of the command staff

  - IAP reflects overall priorities and supporting activities for a designated period, for each incident

##### Faculty

Faculty shall be responsible for the supervision of students and shall remain with students unless directed otherwise. Responsibilities include:

Take steps to ensure the safety of students, staff, and other individuals in the implementation of incident management protocols

Direct students in their charge to inside or outside assembly areas, in accordance with signals, warning, written notification, or intercom orders; according to established incident management procedures

Give appropriate action command during an incident

Report missing students to the Incident Commander or designee

Execute assignments as directed by the Incident Commander or ICS supervisor

Obtain first aid services for injured students from the school nurse or person trained in first aid; arrange for first aid for those unable to be moved

Render first aid if necessary

##### Counselors

Counselors aid with the overall direction of the incident management procedures at the site. Responsibilities may include:

Take steps to ensure the safety of students, staff, and other individuals in the implementation of incident management protocols

Direct students according to established incident management protocols

Render first aid if necessary

Assist in the transfer of students, staff, and other individuals when their safety is threatened by a disaster

Execute assignments as directed by the Incident Commander or ICS supervisor

##### College Secretary

Acts as medical/health coordinator allocate medical care and supplies as needed, maintain casualty reports, and in the case, of a major disaster, works in coordination with the Public Health Services.

Administers first aid/CPR as necessary to students and staff

Distributes first aid supplies as necessary

Works with emergency medical personnel

Organize first aid and medical supplies

##### Custodians/Maintenance Personnel

Responsibilities include:

Survey and report building damage to the Incident Commander or Operations Section Chief

Control main shutoff valves for gas, water, and electricity and ensure that no hazard results from broken or downed lines

Provide damage control as needed

Assist in the conservation, use, and disbursement of supplies and equipment

Keep Incident Commander or designee informed of the condition of the site

##### Office Staff

Responsibilities include:

Answer phones and assist in receiving and providing consistent information to callers

Provide for the safety of essential school records and documents

Execute assignments as directed by the Incident Commander or ICS Supervisor

Aid the Incident Commander

Monitor radio emergency broadcasts

Assist with health incidents as needed, acting as messengers, etc.

## Direction, Control, and Coordination

The District uses the Incident Command System as identified in the Authorities and References section of this plan.

In the event of a major disaster, there is no guarantee emergency medical, or fire personnel will be able to immediately respond to school sites. Therefore, the school staff must be prepared to ensure the care and safety of students during the first several hours after a major disaster without outside assistance. It is critical to determine who does what, where, and how before such a disaster occurs.

### Incident Command System (ICS)

To provide for the effective direction, control, and coordination of an incident, either single site or multi-incidents, the School EOP will be activated including the implementation of the Incident Command System (ICS).

The Incident Commander is delegated the authority to direct tactical on-scene operations until a coordinated incident management framework can be established with local authorities. The Policy Group is responsible for providing the Incident Commander with strategic guidance, information analysis, and needed resources.

##### Figure 1. Incident Management Team Overview

Operations

Section

Finance/Admin

Section

Logistics

Section

Planning/Intel

Section

Chief Executive

(Superintendent/

President)

Public Information Officer

Incident Command

(IC or EOC Director)

Policy Group

(Board of Trustees)

Liaison Officer

Safety Officer

Provides strategic guidance and resource support

Establishes incident objectives and directs all response actions

Implements all response/tactical actions to achieve the incident objectives

Activated, only as needed, to support the incident response directed by the Operations Section.

##### Figure 2. Incident Management Team Detail

#### ICS Functional Areas

The ICS is organized into the following functional areas:

##### Command Staff:

Directs the incident management activities using strategic guidance provided by the Policy Group.

School-related responsibilities and duties include:

Establish and manage the Command Post, establish the incident organization, and determine strategies to implement protocols and adapt as needed

Monitor incident safety conditions and develop measures for ensuring the safety of building occupants (including students, staff, volunteers, and responders)

Coordinate media relations and information dissemination with the principal

Develop working knowledge of local/regional agencies, serve as the primary on-scene contact for outside agencies assigned to an incident, and assist in accessing services when the need arises

Document all activities

##### Operations Section:

Directs all tactical operations of an incident, including implementation of response/recovery activities according to established incident management procedures and protocols, care of students, first aid, crisis intervention, search and rescue, site security, damage assessment, evacuations, and the release of students to parents.

Specific responsibilities include:

Monitor site utilities (i.e., electric, gas, water, heat/ventilation/air conditioning) and shut off only if danger exists or directed by Incident Commander, and assist in securing facility

Establish medical triage with staff trained in first aid and CPR, provide, and oversee care given to injured persons, distribute supplies, and request additional supplies from the Logistics Section

Provide and access psychological first aid services for those in need, and access local/regional providers for ongoing crisis counseling for students, staff, and parents

Coordinate the rationed distribution of food and water, establish secondary toilet facilities in the event of water or plumbing failure, and request needed supplies from the Logistics Section

Document all activities

##### Planning Section:

Collects, evaluates, and disseminates information needed to measure the size, scope, and seriousness of an incident and to plan appropriate incident management activities.

Duties may include:

Assist Incident Commander in the collection and evaluation of information about an incident as it develops (including site map and area map of related events), assist with ongoing planning efforts, and maintain incident time log

Document all activities

##### Logistics Section:

Supports incident management operations by securing and providing needed personnel, equipment, facilities, resources, and services required for incident resolution; coordinating personnel; assembling and deploying volunteer teams; and facilitating communication among incident responders. This function may involve a major role in an extended incident.

Additional responsibilities include:

Establish and oversee communications center and activities during an incident (two-way radio, battery-powered radio, written updates, etc.), and develop telephone tree for after-hours communication

Establish and maintain school and classroom preparedness kits, coordinate access to and distribution of supplies during an incident, and monitor inventory of supplies and equipment

Document all activities

##### Finance/Administration Section:

Oversees all financial activities including purchasing necessary materials, tracking incident costs, arranging contracts for services, timekeeping for emergency responders, submitting documentation for reimbursement, and recovering school records following an incident.

Additional duties may include:

Assume responsibility for overall documentation and recordkeeping activities; when possible, photograph or videotape damage to property

Develop a system to monitor and track expenses and financial losses, and secure all records

This section may not be established onsite at the incident. Rather, the school and school District management offices may assume responsibility for these functions.

#### Working with Policy Group

In complex incidents, a Policy Group will be convened at the District emergency operations center.

The role of the Policy Group is to:

Support the Superintendent or designee in policy level decision making

Provide policy and strategic guidance

Help ensure that adequate resources are available

Identify and resolve issues common to all organizations

Keep elected officials and other executives informed of the situation and decisions

Provide information, both internally and externally through the Joint Information Center

The School Principal and Incident Commander will keep the Policy/Coordination Group informed.

#### Community Emergency Operations Plan (EOP)

The District maintains an Emergency Operations Plan (EOP) to address hazards and incidents. The School Site EOP has been developed to fit into the larger District EOP in the case of a large-scale incident. The District’s EOP stands alone from other agency EOPs but follows the SEMS using the Incident Command System.

#### Coordination with First Responders

An important component of the School Site EOP is a set of interagency agreements with various county agencies to aid timely communication. These agreements help coordinate services between the agencies and the school.

Various agencies and services include county governmental agencies such as mental health, law enforcement, and fire departments. The agreements specify the type of communication and services provided by one agency to another. The agreements also make school personnel available beyond the school setting in an incident or traumatic event taking place in the community.

If a school incident is within the authority of the first-responder community, command will be transferred upon the arrival of qualified first responders. A transfer of command briefing shall occur. The school Incident Commander may be integrated into the Incident Command structure or assume a role within a Unified Command structure.

## Information Collection, Analysis, and Dissemination

It is very important to have access to information before, during, and following a major emergency or incident. The following information resources have been identified by the District as relevant to the Emergency Operations Plan:

### Fire Conditions

California Department of Forestry and Fire Protection (Cal Fire-San Bernardino County)

831-637-4475

http://www.fire.ca.gov/ (select resources)

San Bernardino County Fire Department

Dispatch: 909-387-5974

### Road Conditions

California Department of Transportation (Caltrans)

916-654-2852

https://www.dot.ca.gov/

### Seismic Conditions

United States Geological Survey (USGS)

888-275-8747

https://earthquake.usgs.gov/

### Weather Conditions

National Weather Service (NWS)

Get the app for your smartphone, or

Visit our area NWS website http://www.weather.gov/(sto/), or

Radio

This information may be obtained by a central source and distributed via intranet or other methods, such as phone or email. Should there be a loss of electrical power to the District the back-up method will be the use of portable, self-generating or solar powered devices to obtain the necessary information.

## Training and Exercises

The District understands the importance of training, drills, and exercises in planning for and managing an incident. To ensure that District personnel and community first responders are aware of their duties and responsibilities under the Emergency Operations Plan and incorporate best practices, the following training, drill, and exercise actions will occur.

See District Emergency Drill Schedule for current academic year. Records are maintained at each site.

Safety Training, Drills, and Exercises

Emergency Preparedness and Safety

Copper Mountain Community College District

## Administration, Finance, And Logistics

### Agreements and Contracts

If school resources prove to be inadequate during an incident, the District will request assistance from local emergency services, other agencies, and industry in accordance with existing mutual aid agreements and contracts. Such assistance includes equipment, supplies, and/or personnel. All agreements are entered into by authorized school officials and are in writing. Agreements and contracts identify the school district officials authorized to request assistance pursuant to those documents. All pre-negotiated agreements and contracts are included in the District Business Office.

A listing of those contracts is provided, below. Please coordinate any emergency purchases with Maintenance and Operations Manager. In his/her absence please contact the Director of Business:

Home Depot – General hardware vendor

Sierra Schools – Office supply and furniture vendor

### Recordkeeping

Administrative Controls
The District is responsible for establishing the administrative controls necessary to manage the expenditure of funds and to provide reasonable accountability and justification for expenditures made to support incident management operations. These administrative controls will be done in accordance with the established local and state fiscal policies and standard cost accounting procedures.

Activity Logs
The ICS Section Chiefs will maintain accurate logs recording key incident management activities, including:

Activation or deactivation of incident facilities

Significant changes in the incident situation

Major commitments of resources or requests for additional resources from external sources

Issuance of protective action recommendations to the staff and students

Evacuations

Casualties

Containment or termination of the incident

### Incident Costs

Annual Incident Management Costs of the District Emergency Operations Plan
The ICS Finance and Administration Section is responsible for maintaining records summarizing the use of personnel, equipment, and supplies to obtain an estimate of annual incident response costs that can be used in preparing future school budgets.

Incident Costs
The ICS Finance and Administration Section Chief will maintain detailed records of costs for incident management and operations to include:

Personnel costs, especially overtime costs

Equipment operations costs

Costs for leased or rented equipment

Costs for contract services to support incident management operations

Costs of specialized supplies expended for incident management operations.

These records may be used to recover costs from the responsible party or insurers or as a basis for requesting financial assistance for certain allowable response and recovery costs from the State and/or Federal government.

#### Preservation of Records

In order to continue normal school operations following an incident, vital records must be protected. These include legal documents and student files, as well as property and tax records. The principle causes of damage to records are fire and water; therefore, essential records should be protected accordingly.

## Plan Development and Maintenance

Before a crisis occurs, proactive planning is essential. The Emergency Operations Plan is a living document that guides our planning. Therefore, please note the following suggestions:

Maintain a current copy of the school map with an evacuation plan, and identify the location of fire extinguishers, utility shut offs, first aid supplies, and fire alarm switches.

Review all emergency procedures with school site employees.

After-action debriefs should be conducted:

- During training and exercise of the plan

- When incidents occur

This debrief should include what worked and what needs to be improved in the plan. We will utilize this information to update the EOP as needed.

## Authorities and References

### Authorities

#### Federal

Robert T. Stafford Disaster Relief and Emergency Assistance Act of 1988, Public Law 93-288, as amended

Homeland Security Presidential Policy Directive #5, February 28, 2003

Homeland Security Presidential Policy Directive #8, March 30, 2011

#### State

California Government Code, 8550 - 8668, California Emergency Services Act,

California Government Code, 3100 – Disaster Service Workers

California Code of Regulations, Title 19– Standardized Emergency Management System Regulations

Education Code 39140-39159, The California Field Act of 1933

Education Code 32280-32289, Emergency Operations Plans

Education Code 35295 – 35297, The Katz Bill

Executive Order S-2-05, National Incident Management System Integration into the State of California

### References

#### Federal

FEMA, “CPG 101: Developing and Maintaining Emergency Operations Plans", November 2010

U.S. Department of Education, “Guide for Developing High-Quality School Emergency Operations Plans”, 2013.

U.S. Department of Homeland Security, “National Response Framework”, 2008

#### State

OES: “SEMS Guidelines”, 2009

OES, “California Implementation Guidelines for the National Incident Management System”, April 2006

Emergency management officials and emergency responders engaging with schools are familiar with this terminology. These mission areas generally align with the three timeframes associated with an incident: before, during, and after.

# Functional Annex

## Communications

### Purpose

The Communications Annex ensures the availability and coordinated use of our communications systems for the dissemination of disaster information, for the exchange of information between decision-makers, and for the coordination of communications with local response agencies.

### Scope

When activated, the Communications annex coordinates and supports emergency response/recovery telecommunications requirements. This includes the interface between our District and other agencies and outside organizations, such as local, state, and federal government, private nonprofit organizations, and business/industry. Immediately report communications degradation, interruption, or failure by alternate means (e.g. cell phone) to the Communications Officer and/or the District’s Emergency Operations Center (EOC) if activated.

### Activation

The senior executive (or designee) determines whether to activate this annex based upon information from initial staff reports and local authorities. The local emergency communications plan will include:

Channel designations

Contingency communications procedures

Training in back-up communications equipment

### Key Tasks/Responsibilities

Develop a local communications plan

Establish and maintain liaison with local response agencies, state agencies, commercial communications companies, and amateur radio organizations

Support communications equipment (radio, computer, fax, etc.) as needed

Provide communications capability

Recorded Emergency Broadcast Messages – phone system

Email or Automated Phone for outgoing alerts (usually a contracted service-provider)

Maintain equipment inventory

Designate a centrally located area (usually main office) easily identified by staff, media, and the public

Predetermine an alternate location in case the primary location is inaccessible

Establish communication with staff

Maintain telephone and radio communication with emergency services

Post rumor control and information on the internet and in an area accessible to our students and the community

Record emergency related incidents

Maintain communication with staff by whatever means available (SMS text messaging, audio alarm warning system, intercom, bullhorn, canned air horn, two-way radio, e-mail, written notices)

### Internal Communications

Staff will be notified when an incident occurs and kept informed as additional information becomes available and as plans for management of the situation evolve. The following practices will be utilized to disseminate information internally when appropriate:

#### Alert Notifications (SMS Texting)

In most cases our alert notification system Emergency Notification Text will be used to activate and communicate within our emergency management system (following our Emergency Operations Plan). It may also be used to activate and manage our Emergency Operations Center (EOC).

#### Telephone Tree

A telephone tree is a simple, widely used system for notifying staff of an incident when they are not at their primary work location. The tree originates with the senior site official, who contacts the members of the Incident Management Team. Team members then, in turn, will contact groups of staff identified on their call list.

#### Staff Meetings

As appropriate, updated information about an incident will be presented at regularly scheduled staff meetings. In some cases, special staff meetings may be called as incident evolution requires. Staff will also have the opportunity to address any misinformation or rumors. Any new procedures or temporary changes will also be reviewed at this time.

#### Communication With the District Administrative Office

The Incident Commander will use the designated countywide Emergency Radio Network to notify the site administrator of our District’s status/needs. The site administrator will notify the District office. The District office will notify the County Office of the status of all of the District’s sites. He/she will designate staff member(s) to monitor all communications.

### Activation

### Concept of Operations

The senior executive (or designee) determines whether to activate this annex based upon information from initial staff reports and local authorities. When activated, the Communications annex coordinates and supports emergency response/recovery telecommunications requirements

Immediately report communications degradation, interruption, or failure by alternate means (e.g. cell phone) to our District’s Emergency Operations Center (EOC) if activated or the Communications Officer

The local emergency communications plan will include channel designations, contingency communications procedures, and training in back-up communications equipment.

## Continuity of Operations (COOP)

### General

Continuity of Operations planning is a program that ensures continued performance of essential functions across a full range of potential emergencies, be they natural or man‐made, when a significant interruption of operations occurs following a severe disaster or tragedy.

A COOP provides guidance and establishes responsibilities and procedures to ensure that essential functions are maintained. COOP is not the same as an Emergency Operations Plan or a Recovery Plan, but rather supplements it, in the event normal facility or human resources are not available.

A COOP provides a continuity infrastructure that through careful planning ensures:

Emergency delegation of authority and an orderly line of succession, as necessary.

Safekeeping of essential personnel, resources, facilities, and vital records.

Emergency acquisition of resources necessary for business resumption.

The capability to perform critical functions remotely until resumption of normal operations.

A District’s COOP plan should allow for its implementation anytime, with or without warning, during normal and after-hours operations; providing full operational capability for essential functions no later than 12 hours after activation; and sustain essential functions for up to 30 days.

The purpose of these Continuity of Operations (COOP) procedures is to ensure that there are procedures in place to maintain or rapidly resume essential operations within the District after an incident that results in disruption of normal activities or services to the District. Failure to maintain these critical services would significantly affect the operations and/or service mission of the District in an adverse way.

### Scope

It is the responsibility of the District’s officials to protect students and staff from incidents and restore critical operations as soon as it is safe to do so. This responsibility involves identifying and mitigating hazards, preparing for, and responding to incidents, and managing the recovery process.

The COOP procedures outline actions needed to maintain and/or rapidly resume essential operations, business, and physical services, when interrupted for an extended period of time following an incident.

### Responsibilities

Designated District Staff, in conjunction with the affected administrator(s) and staff, will perform the essential functions as follows:

#### Senior Executive/Site Administrator

Determine when to close District, and/or send students/staff to alternate locations

Disseminate information internally to students and staff

Communicate with family, media, and the larger community

Identify a line of succession, including who is responsible for restoring which business functions for the District

Ensure systems are in place for rapid contract execution after an incident

Identify relocation areas for site and administrative operations

Create a system for registering students (off site or into alternative locations)

Brief and train staff regarding their additional responsibilities

Secure and provide needed personnel, equipment and supplies, facilities, resources, and services required for continued operations

Identify strategies to continue operations (e.g., using the Internet, providing alternatives to operational contingencies)

Work with local and state government officials to determine when it is safe for students and staff to return to the District’s buildings and grounds

Manage the restoration of the District’s buildings and grounds (e.g. debris removal, repairing, repainting, and/or landscaping)

Collaborate with private and public-sector service providers and contractors

#### Administrative Services, District Staff

Maintain inventory

Maintain essential records (and copies of records) including the District’s insurance policy

Ensure redundancy of records is kept at a different physical location.

Secure District’s equipment and materials in advance.

Restore administrative and recordkeeping functions such as payroll, accounting, and personnel records.

Retrieve, collect, and maintain personnel data

Provide accounts payable and cash management services

#### Administrative Support Staff

Establish necessary support services for students and staff

Implement additional response and recovery activities according to established protocols

Collaborate with public and private providers

#### Food Services Worker

Determine how food services will resume

Support staff and volunteers as much as possible

#### Transportation

Provide emergency transportation services as needed

Assess and implement alternative transportation services that may be necessitated

## Evacuation

### General

Evacuation is one means of protecting the staff, students, and visitors from the effects of a hazard through the orderly movement of person(s) away from the hazard. The type and magnitude of the emergency will dictate the scale of an evacuation (i.e., evacuation area).

### Concept of Operations

Evacuation orders are generally given by the following:

Local Police

Environmental Health & Safety

Facilities Services

Administrator, director, or building supervisor

Fire Department with jurisdiction

Any person identifying a hazard and by activating the fire alarm system via a fire alarm pull station

### Evacuation Procedures

Evacuation will be initiated by means of the fire alarm system. Whenever the alarm is sounded all occupants of all buildings are to initiate the evacuation procedure.

Take the Incident Action packet/binder which has a current class list and a red/green 8½ x 11 card (red on one side and green on the other side)

Close all doors and windows. (DO NOT LOCK DOORS)

Follow the safest evacuation route to the assembly or safe dispersal area.

Teachers are to take roll and make certain no one reenters the building for any reason.

If all students are present with staff member, staff will hold up the GREEN sheet to acknowledge to responsible incident management person that all students are present.

Support staff who have regular schedules with students need to have a green and red card also. If all students who are regularly scheduled are in their care and custody, they are to raise the green card, so staff member and responsible incident management person can see.

Staff members are to raise the red card even if they think a student is with support staff so responsible incident management person can account for those students.

If a student is not present, the staff member will hold up the RED card and wait for the administration to contact him/her to see who is absent. The responsible incident management person will coordinate the search for the missing student.

Students should remain 30 – 50 feet away from any building.

Students are to remain in groups, until the all-clear signal is given.

### On-Site Evacuation

The Incident Commander or designee activates fire alarm.

All staff follow the Evacuation Procedures identified above.

Once assembled, building occupants remain in their designated assembly or safe dispersal area until further instructions are given.

Reentry is only authorized after it is determined that conditions and buildings are deemed safe by appropriate incident management staff.

### Off-Site Evacuation

If it is determined that the buildings and area are not safe for occupation and that the On-Site Evacuation locations are also at risk, the appropriate incident management staff will initiate an Off-Site Evacuation.

The Incident Commander or designee determines safest method for evacuating the site. This may include use of buses or simply walking to designated off-site location.

Staff members secure the student roster when leaving the building and take attendance once group is assembled in pre-designated safe location.

Once assembled off-site, staff members and students stay in place until further instructions are given.

In the event clearance is received from appropriate agencies, Incident Commander may authorize students and staff to return to buildings.

### Evacuating Students with Disabilities

Procedures and actions regarding the special needs’ population should cover the evacuation, transportation and medical needs of students who will require extreme special handling in an emergency. In most cases, additional safeguards must be established regarding roles, responsibilities, and procedures for students with physical, sensory, emotional and health disabilities.

The following are steps that cover the evacuation procedure of student(s) with disabilities:

Review all paths of travel and potential obstacles

Know the facility, grounds, paths, exits and potential obstacles

Determine the primary and secondary paths of exit to be used during emergencies

Individuals with mobility impairments will need a smooth, solid, level walking surface, an exit that avoids barriers such as stairs, narrow doors and elevators and guardrails that protect open sides of the path

Compile and distribute evacuation route information to be used during emergency operations

Include alternative evacuation route information, should the primary route be inaccessible due to damage or danger

Install appropriate signage and visual alarms

Place evacuation information indicating primary and secondary exits in all offices, rooms, multipurpose rooms, hallways/corridors, lobbies, bathrooms, and cafeterias. For passages and doorways that might be mistaken for an exit, place visible signs that proclaim, “NOT AN EXIT”

Place emergency notification devices appropriate for each student

Post signage with the name and location of each area so that the students will know exactly where they are, in order to comply with ADA (Americans with Disabilities Act) Accessibility

#### Buildings and Facilities Signage Requirements

Approximately 60 inches above the floor

In a location that is not obscured in normal operation such as a swinging door

In all primary function areas

### Preparation and Planning

Identify the students and staff with special needs and the type of assistance they will require in an emergency

Allow visitors to self-identify on a sign-in log if they have special evacuation needs

Discuss evacuation issues with the staff members and caretakers of students with special needs, including individuals, who may be temporarily disabled (i.e. a student with a broken leg)

Train staff in general evacuation procedures

Review the areas of rescue, primary exits, evacuation techniques, and the locations and operation of emergency equipment

Provide in-depth training to those designated to evacuate students with special needs

Train the staff for proper lifting techniques when lifting a person for evacuation

Anyone can assist a student with a visual impairment

Check on each special needs student to assure he/she is accounted for during an evacuation

Review the plan with emergency response personal, including local police, fire, and emergency medical technicians

Identify “areas of rescue” in our site for students to wait for evacuation assistance from emergency personnel

Before operations begin in the Fall, walk around the site with first responders so that they are familiar with the primary exits and all areas of rescue; these areas must meet specifications for fire resistance and ventilation

Ask the responders to conduct a special drill explaining how they will support the students and staff with special needs during an emergency

Complete all contracts and Statements of Understanding with key emergency support providers

Ensure that sufficient transportation capacity exists with transportation providers, partner agencies, and suppliers to effectively meet the demand in an emergency

Identify transportation contracts through the District in case of an emergency; Emergency response for special needs requires special vans and special equipment

Specify who will do what to address these transportation needs

Develop a list of District-owned vehicles, staff vehicles that are available and make prior arrangements for their use in the event of an emergency

Review the evacuation plan with students and staff to be familiar with the process and identify any problems

Practice implementation of special duck and cover actions by students with able-bodied partners

Students should be aware that evacuation by themselves may be difficult or impossible because of obstacles in their path or because electric dependent machines may not function (i.e. elevator)

Special pre-planned assistance must be provided and reviewed regularly

## Lockdown (Deny Entry or Closing)

### General

A District or school site lock down is necessary when the threat of violence or gunfire is identified or directed by law enforcement and it is necessary to prevent the perpetrator(s) from entering occupied areas. During lock down, students are to remain in rooms or designated locations at all times.

### Instructions

If a lock down situation is required, the Site Administrator will make an announcement on the Public Address (PA) system. If the PA system is not available, the Site Administrator will use other means of communication (e.g., sending messengers to deliver instructions). The Site Administrator should be calm, convey reassuring comments that the situation is under control, and provide clear and consistent directions. Below is an example of an announcement to be made by the Site Administrator:

“YOUR ATTENTION PLEASE. WE HAVE AN EMERGENCY SITUATION. STAFF ARE TO LOCK ROOM DOORS UNTIL NOTIFIED BY AN ADMINISTRATOR OR LAW ENFORCEMENT. STUDENTS AND STAFF ARE TO PROCEED TO THE NEAREST ROOM OR BUILDING. PLEASE REMAIN INDOORS UNTIL FURTHER INSTRUCTIONS ARE PROVIDED.”

If inside, staff should instruct students to lie on the floor, move away from doors and remain in the center of the room out of the line of fire, lock the doors (if possible), and close any shades or blinds if it appears safe to do so. Students and staff who are physically unable to lie on the ground should move away from doors and windows.

If outside, students should proceed to their rooms if it is safe to do so. If it is not safe, staff must direct students into nearby rooms or other District buildings (e.g., auditorium, library, cafeteria, and gymnasium).

District staff and students must remain in their room or secured area until further instructions are provided by the Site Administrator or law enforcement.

Landline phones should not be used. District staff should use cell phones and speak quietly.

All site entrances and exits must be locked, and no visitors other than appropriate law enforcement or emergency personnel are to be allowed on the site.

## Public, Medical, and Mental Health

### General

Establishment of public, medical, and mental health procedures, will assist the District in preparing for, responding to, and recovering from an incident that affects the health and safety of students, staff, and family. Furthermore, coordination with Public Health agencies, Emergency Medical Services (EMS), and Mental Health support services will broaden their capacity to deal with these incidents by providing the District with resources beyond their existing expertise and training.

### Public Health

#### Procedures

Designate District Medical Manager and/or other key personnel as the individual(s) responsible for coordinating incidents such as disease outbreaks, bioterrorism, and natural disasters with local, State, and Federal Public Health agencies.

Coordinate with local, State, and Federal Public Health agencies on information sharing protocols.

Develop procedures for reporting information to local, State, and Federal Public Health agencies.

Contact local Public Health agency to determine notification procedures for students/family, staff, and public, if necessary.

Send out any required notification to students/family, staff and public as required.

Establish a dedicated contact phone number for questions and concerns.

Coordinate with local, State, and Federal Public Health agencies, for assistance with managing large scale incidents or incidents beyond the District’s resources.

### Medical Health

#### Procedures

Designate District Medical Manager and/or other key personnel as the individual(s) responsible for coordinating incidents involving students or staff injuries or illnesses

Provide CPR/First Aid/AED to all staff designated to work in medical capacity

Establish a triage area for injured students and staff

Separate walking wounded, critically injured and deceased individuals (Keep a log of names of these individuals)

Keep a record of students and staff that are transported off-site for treatment.

Coordinate with local Emergency Medical Services (EMS) agencies for assistance with large scale incidents or incidents beyond the District’s resources.

### Mental Health

#### Procedures

Designate crisis counselors and/or other key personnel as the individual(s) responsible for coordinating incidents with local, State, and Federal Mental Health agencies

Activate crisis counselors during the incident to begin identifying students and staff that require assistance

Keep a log of individuals counseled or that require counseling following the incident

Notify students, family, and staff of counseling services available

Coordinate with local, State, and Federal Mental Health agencies, for assistance with large scale incidents or incidents beyond the ’s resources.

## Public Safety and Security

### Purpose

The Public Safety and Security Annex integrates State public safety and security capabilities and resources to support the full range of incident management activities.

### Scope

The Public Safety and Security Annex provides a mechanism for coordinating and providing support to local law enforcement authorities to include non-investigative/non-criminal law enforcement, public safety, and security capabilities and resources during incidents. The Public Safety and Security Annex capabilities support incident management requirements, including force and critical infrastructure protection, security planning and technical assistance, technology support, and public safety, in both pre-incident and post-incident situations. The Public Safety and Security Annex generally is activated in situations requiring extensive assistance to provide public safety and security.

### Key Tasks/Responsibilities

Coordinate public safety and security support (including personnel and equipment) to any affected department/agency during preparation for, response to, and/or recovery from any real or potential incident.

County Sheriff’s Office

Police Department

Other Law Enforcement Agencies

Private Security Companies

Coordinate critical information dissemination regarding public safety/security through mass warning/notification.

County Sheriff’s Office

Police Department

Dispatch

County Emergency Management

Facilitate multi-function public safety activities such as evacuation, traffic, looting, and riot control

County Sheriff’s Office

Police Department

Other Law Enforcement Agencies

Fire/EMS

### Concept of Operations

Local law enforcement authorities have the primary responsibility for public safety and security and are the first line of response and support in these functional areas, utilizing the Incident Command System on-scene

In larger-scale incidents, additional resources should first be obtained through the activation of mutual aid agreements with neighboring jurisdictions and/or State authorities, which may require the management of incident operations through a Unified Command structure

Through the Public Safety and Security Annex, outside resources supplement local resources when requested or required, as appropriate, and are integrated into the incident command structure using National Incident Management System principles and protocols

The Public Safety and Security Annex activities should not be confused with the activities described in the Terrorism Incident Annex or other criminal investigative law enforcement activities

As the lead law enforcement official in the United States, the Attorney General, generally acting through the Federal Bureau of Investigation (FBI), maintains the lead for criminal investigations of terrorist acts or terrorist threats by individuals or groups inside the United States

The Public Safety and Security Annex is activated when public safety and security capabilities and resources are needed to support incident operations

This includes threat or pre-incident as well as post-incident situations

When activated, the primary agencies assess public safety and security needs, and respond to requests for resources and planning/technical assistance from county agencies

The Public Safety and Security Annex manages support by coordinating the implementation of authorities related to public safety and security and protection of property, including critical infrastructure, and security resources and technologies and other assistance to support incident management operations and security capabilities and resources are needed to support incident operations

This includes threat or pre-incident as well as post-incident situations

The Public Safety and Security Annex maintains close coordination with Federal, State, and local officials to determine public safety and security support requirements and to jointly determine resource priorities

The primary agencies maintain communications with supporting agencies to determine capabilities, assess the availability of resources, and track resources that have been deployed

## Recovery

### General

When a disaster occurs, it is all too easy to get consumed by the urgent activities and emotions surrounding the event. That is understandable but don’t allow the intensity of the incident to distract you from some extremely important actions you should be taking. Keep in mind that no financial assistance will occur until there is a declared disaster by the State and the Federal governments.

Tracking time and material (supplies and equipment specifically used for the disaster) should happen always, regardless of disaster declarations. There is no guarantee that we will get our expenses reimbursed. We are at the mercy of the State and Federal governments. In most cases, however, labor and materials specific to the disaster response get reimbursed. Losses already covered by our insurance are typically NOT reimbursed. For example, if an employee is injured our Workers’ Compensation would cover the injured employee. If a building was damaged and our insurance does not cover that specific cause of loss there may be a chance it is reimbursable.

### Before – Action Items

Establish relationships and contact information from our county Operational Area and Coordinating Council (OACC)

Create and maintain a current contact list with this information and other contact information essential to the Finance/Administration Section of our ICS structure

Train and practice the Start-up, Operation of, and the Closure of this ICS Section.

Modify and update our Emergency Operations Plan as necessary

### During – Action Items

Within the very first moments of an incident, begin tracking every employee’s and volunteer’s time spent on the incident. (Be alert to any announcements from local or State government regarding “Public Assistance” requests or meetings.) Use the form designed for that purpose, the Activity Log (ICS 214). If not readily available, make sure each person is tracking the following:

Incident name

Date

Worker’s name

Log each major activity and track start and end times

Don’t be concerned with tracking too much – that can be sorted out after the event

This information will need to be transferred onto the Activity Log (ICS 214) before we can apply for Public Assistance funding (this is what they call the State and Federal reimbursement program)

Keep track of ANY disaster-related expenditures for supplies or equipment. It is best to retain copies of priced-out receipts and invoices for possible State and Federal reimbursement. For example, if our facilities may be used as a shelter and we are required to provide custodial services specific to the shelter, toilet paper, paper towels, cleaning material and chemicals would all likely be reimbursable. If our facility were being used as a medical care facility and the HVAC system required filters different than what we would normally use, the cost of the filters (and the labor to change them) are likely reimbursable.

Establish the Recovery Unit in the Finance/Administration Section of our Emergency Operations Center (EOC).

Have all sites or units collect information on their ability to sustain operations.

Develop staffing pattern for the Recovery Unit.

Collect information on damages, duration, and impact from the following:

Utility Providers

Social, medical and health services

Transportation routes and services

Debris issues

County Government Operations

Private sector retail and wholesale providers

Others

Develop initial short term and long-term recovery objectives.

Refer to hazard/threat-specific annexes for information.

Develop information for the PIO on the recovery process and progress.

Develop a plan to assign personnel to sustain the recovery effort

Coordinate with the OACC, other local jurisdictions and the State on their recovery efforts.

While it is best if we already have an established relationship with our county Operational Area Coordinating Council (OACC) contact, we need to identify that individual and the means of communicating with them. We will want them to know who at our District will serve as the contact for emergency incidents. This will serve a couple of purposes:

It will keep our District “in the loop” and better informed when an incident affecting our District occurs

It will alert us to any notice of “Public Assistance” informational meetings to learn about getting Federal and State reimbursement for disaster related District activity

If our county’s OACC is overwhelmed with an incident we should reach out directly to our Emergency Services Coordinator at the Governor’s Office of Emergency Services Region Operational Area.

Ask them to put the District on the list for notification of “Public Assistance” informational meetings

There are forms that will be exchanged between our District and the OACC or the California Governor’s Office of Emergency Services (they act as our liaison with FEMA)

If our employees and volunteers remain under our direction and control we are responsible for any costs associated with their activities. Should they perform work that they would not normally do, and it is attributable to the disaster we will likely be able to reimburse the labor. Management costs are typically NOT reimbursable.

If our employees and volunteers, or our facilities, are tasked outside of our District we must only do so under the terms of a mutual aid agreement or memorandum of understanding to which the District have agreed, in writing. Make sure we understand when and if risk transfer occurs as it should be clear in these documents. These documents should identify, specifically, what is “covered” and by “whom.” Examples for other agency usage of our facility might include the Fire Department using our facility as a command center for the incident.

Or, local hospitals may be “at-capacity” and need our facility to provide some form of medical or health services. In these cases, (like the case of sheltering) a written request for use of our facilities should be on file or requested prior to allowing the agency to use them. These documents should specify what they will and will not cover in terms of costs related to using the facility. Typically, if an outside agency damages the property or they cause a liability exposure, they are responsible for coverage.

When in doubt, ask for help.

### After – Action Items

Begin closing the Recovery Unit

Assign any open or pending tasks, such as Public Assistance funding or other outstanding receivables or payables, to appropriate staff with specific checkup or due dates

Make sure all Activity Logs and equipment/supply records have been assembled and recorded into the request for Public Assistance from Cal OES and FEMA

Conduct an After-Action debrief within the Finance/Administration Section and include that in the main incident After-Action debrief held by the District

Review our EOP and include any lessons learned or altered actions into the plan for update and redistribution to the emergency management team

Participate in and debriefings provided by our ICS team and close the Recovery Unit

### Resources

Activity Log (ICS 214)

Cal OES Regional Operations

Form Cal OES 126 – Project Application, California Disaster Assistance Act Program

Form Cal OES 130 – Designation Of Applicant's Agent Resolution For Non-State Agencies

Form Cal OES 89 – Project Assurances For Federal Assistance – Construction Programs

Form FEMA 009-0-49 9/16 – Request For Public Assistance

All links should be verified at least annually and updated. In some cases, expired forms will not be accepted.

## Shelter-in-Place

### General

This action is taken to place and/or keep students indoors in order to provide a greater level of protection from airborne contaminants in outside air. Shelter-in-place is implemented when there is a need to isolate students and staff from the outside environment and includes the shutdown of room and/or building air systems. During shelter-in-place, no one should be exposed to the outside air.

### Description of Action

If an emergency occurs that requires students and staff to Shelter-in-Place, the Site Administrator will make an announcement on the PA system. If the PA system is not available, the Site Administrator will use other means of communication (e.g., sending messengers to deliver instructions). The Site Administrator should be calm, convey reassuring comments that the situation is under control, and provide clear and consistent directions. Below is an example of an announcement to be made by the Site Administrator:

“YOUR ATTENTION PLEASE. WE HAVE RECEIVED INFORMATION REGARDING A HAZARD IN THE COMMUNITY. WE ARE INSTITUTING SHELTER-IN-PLACE PROCEDURES. PLEASE REMAIN INSIDE THE BUILDING AWAY FROM OUTSIDE AIR WITH WINDOWS AND DOORS SECURELY CLOSED AND AIR CONDITIONING UNITS TURNED OFF. ALL STUDENTS AND STAFF THAT ARE OUTSIDE ARE TO IMMEDIATELY MOVE TO THE PROTECTION OF AN INSIDE ROOM. PLEASE REMAIN INDOORS UNTIL FURTHER INSTRUCTIONS ARE PROVIDED.”

If inside, staff should keep students in their rooms until further instructions are given

If outside, students must proceed to their rooms if it is safe to do so

If it is determined to be unsafe, staff should direct students into nearby rooms or buildings (e.g., auditorium, library, cafeteria, and gymnasium)

Staff and students who were exposed to outside air should congregate in indoor locations away from individuals who were not exposed to outside air

Anyone who is exhibiting symptoms must be treated

Staff is responsible for securing individual rooms and for completing the following procedures as needed:

Shut down the room/building HVAC (Heating Ventilation and Air Conditioning) system

Turn off local fans in the area

Close and lock doors and windows

If necessary, seal gaps under doors and windows with wet towels or duct tape, seal vents with aluminum foil or plastic wrap, and turn off sources of ignition, such as pilot lights

## Situational Awareness

In the U.S., every public agency is expected to address situational awareness and personnel security. Situational Awareness is the ability to identify, process, and comprehend the critical information about an incident. More simply, it is knowing what is going on around us.

### Overview

Situational Awareness requires continuous monitoring of relevant sources of information regarding actual incidents and developing hazards. A common core function of Emergency Operations Centers (EOC) is gaining, maintaining, and sharing Situational Awareness and developing a Situational Picture (SitPic) that is shared between the Incident ICS, EOC, JIS, and field staff participants in the incident.

In the early stages of activation, the EOC will obtain Situational Awareness. This is important because accurate, timely information will enable more informed, effective decision-making. An excellent tool for developing and maintaining this condition of the OODA loop.

#### OODA Loop

The OODA loop is the cycle: observe–orient–decide–act, developed by military strategist and United States Air Force Colonel John Boyd in the 1960s. Boyd applied the concept to the combat operations process, often at the operational level during military campaigns. It is now also often applied to understand commercial operations and learning processes.

The OODA loop has become an important concept in emergency management. According to Boyd, decision-making occurs in a recurring cycle of observe–orient–decide–act. An entity (whether an individual or an organization) that can process this cycle quickly, observing and reacting to unfolding events more rapidly than an “opponent,” can thereby "get inside" the opponent's decision cycle and gain the advantage.

Observe – Sensing yourself and the world around you

Orient – What you believe: a complex set of filters of genetic heritage, cultural predispositions, personal experience, and knowledge

Decide – A review of alternative courses of action and the selection of the preferred course as a hypothesis to be tested.

Act – Testing the decision chosen for implementation.

Every employee is a critical link to situational awareness. This annex addresses the expectations of this District in establishing and maintaining a vital communication and informational internal network. Whether you are in an office environment, inside a building, in the field, or at home, what you observe and absorb are invaluable to our District.

### Prepare

The following list includes the minimum expectations for every employee:

Develop and maintain a personal family communication plan

Use the Family Emergency Communication Plan – Wallet Sized provided by our District

The plan should be completed at hire and updated when any of the information changes but at least annually

Share our plan with your family

Review and familiarize yourself with the District’s Emergency Operations Plan (EOP)

Prepare a “Go-Bag” for yourself with a 3-day supply of food and water

See the “Go-Bag” guide for help in assembling and stocking

Keep a copy of the District’s Critical Incident Field Operations Guide (FOG) with you at all times during work hours

### Field Protocol

Before, during, and after critical incidents there are some basic steps you should take to improve your situation and help others in need:

If you are operating a vehicle or other equipment, stop your activity as soon as is safely possible (If driving, follow safe driving practices and get maneuver your vehicle without endangering your own or the safety of others)

Assess the situation using the OODA loop and take appropriate action

Follow our District’s Communication protocols as outlined in the EOP

If you are unable to proceed to your primary location ( starting and ending shift worksite) find out if you can return to an alternate site

If returning to any of these sites proves unreasonable, proceed to the nearest public facility (police or fire station, hospital, local government office) and notify our District of your exact location

Provide our District’s Emergency Operations Center (EOC) with as much detailed information as possible:

Time, Date, and Location of Critical Incident

Your condition (unaffected, injured, etc.) and the condition of your equipment

Describe the type of incident such as fire, hazmat, earthquake, etc.

Provide details on estimate impact in your area (how much loss or damage)

### Disaster Service Worker

As a California public employee, you may be called upon to work as a Disaster Service Worker (DSW) in the event of an emergency. The information contained in the Disaster Service Worker website will help you understand your role and obligations as a disaster service worker, and what to do in an emergency (California Government Code Section 3100-3109).

# Hazard/Threat Annex

## Hazard-Threat Assessment

A representative number of participants were selected to participate in the Hazard-Threat Assessment Survey (HTAS). This survey follows best practices in emergency management and is a very important part of updating our Emergency Operations Plan.

This survey was designed to help us prioritize possible threats or hazards we may face. It covers many possible scenarios but is not exhaustive in nature. The survey information generated is invaluable in helping our Emergency Operations Plan Collaborative Planning Team identify the hazards and threats most likely to impact us.

The Collaborative Planning team has selected the following Hazards/Threats to be included in this annex:

Active Assailant

Bomb Threat or Explosion

Earthquake

Fire-Structural

Fire-Forest, Wildfire, or Urban Interface

Flood

Infectious Disease

Power-Utility Failure

Severe Weather

### HTAS Report

## Active Assailant

### General

An Active Assailant is an individual actively engaged in the killing or attempting to kill people in a confined and populated area. In most cases, active assailants use firearms(s) and there is no pattern or method to their selection of victims.

Active Assailant situations are unpredictable and evolve quickly. Typically, the immediate deployment of law enforcement is required to stop the attack and mitigate harm to victims.

Because active assailant situations are often over within 10 to 15 minutes, before law enforcement arrives on the scene, individuals must be prepared both mentally and physically to deal with an active assailant situation.

### Good Practice for Coping

Be aware of your environment and any possible dangers

Take note of the two nearest exits in any facility you visit

If you are in an office, stay there and secure the door

If you are in a hallway, get into a room and secure the door

As a last resort, attempt to take the active assailant down. When the assailant is at close range and you cannot flee, your chance of survival is much greater if you try to incapacitate him/her.

Call 911 when it is safe to do so

Any time there is a significant security concern, we will make every reasonable attempt to immediately increase security on site. At the same time emergency personnel are responding to the emergency, public safety officials will communicate the hazard to the community via all available and appropriate means.

If you receive an official emergency communication notifying you of a hazardous situation where you must take immediate action to protect yourself, stay as calm as possible and follow these procedures. Only you will be able to determine the safest course of action that should be taken.

If a security threat is imminent or occurring, our personnel will take all reasonable and appropriate actions to minimize the hazard to the District’s students and staff. If the perpetrator(s) is known, Incident Command will immediately deactivate the incident site’s ID card(s) to prevent the individual(s) from entering a building/room equipped with card access. For locations without electronic access control, incident personnel will make reasonable attempts to secure these doors as quickly as possible. The nature of the threat may make it unsafe for incident personnel to move from door-to-door, thus preventing these locations from being quickly secured.

If you become aware of an active assailant situation, immediately notify Police at 911. Information to provide to law enforcement or 911 operators:

Location of the active assailant

Number of assailants

Identity of the assailant(s), if known

Physical description of assailant(s)

Number and type of weapons held by the assailant(s)

Number of potential victims at the location

### Responding to an Active Assailant/Physical Threat

If you are in a situation where your safety is in question and you are at risk of harm from another person, you must quickly determine the most reasonable way to protect your own life.

#### Run (evacuate)

If there is an accessible escape path, attempt to evacuate the building/area. Be sure to:

Have an escape route and plan in mind

Evacuate regardless of whether others agree to follow

Leave your belongings behind

Help others escape, if possible

Prevent individuals from entering an area where the active assailant may be

Keep your hands visible, to prevent confusion to law enforcement

Follow the instructions of law enforcement personnel

Do not attempt to move wounded people

Notify Police when you are safe

#### Hide (lockdown)

If evacuation is not possible, find a place to hide where the active assailant is less likely to find you. Your hiding place should:

Be out of the active assailant’s view

Provide protection if shots are fired in your direction (i.e. a room with a closed and locked door)

Not trap you or restrict your options for movement

Remember Cover vs. Concealment

Spread out to reduce target area

To prevent an active assailant from entering your hiding place:

  - Lock the door, if possible

  - Blockade the door with whatever is available – heavy furniture, door wedges, file cabinets, etc.

  - Cover any windows or openings that have a direct line of sight into a hallway

If the active assailant is nearby:

Lock the door, if possible

Close windows, shades, and curtains.

Silence all cell phone and other electronic devices

Turn off any source of noise (i.e. radios, televisions, etc.)

Hide behind large items (i.e. cabinets, desks)

Remain silent

Do not sound the fire alarm

A fire alarm would signal the occupants to evacuate the building and thus place them in potential harm as they attempted to exit

Notify Police when it is safe to do so

#### Fight

If running and hiding are not possible:

Remain calm

Notify Police, if possible, to alert hem of the active assailant’s location

If you cannot speak, leave the line open and allow the dispatcher to listen

As a last resort, and only when your life is in imminent danger, attempt to disrupt and/or incapacitate the active assailant by:

Acting as aggressively as possible against him/her

Throwing items and improvising weapons

Yelling

Committing to your actions

Law enforcement’s purpose is to stop the active assailant as soon as possible. Officers will proceed directly to the area in which the last shots were heard.

Officers usually arrive in teams of four

Officers may wear regular patrol uniforms or external bulletproof vests, Kevlar helmets, and other tactical equipment

Officers may be armed with rifles, shotguns, handguns

Officers may use pepper spray or tear gas to control the situation

Officers may shout commands, and may push individuals to the ground for their safety

The first officers to arrive to the scene will not stop to help injured persons. Expect rescue teams comprised of additional officers and emergency medical personnel to follow the initial officers. These rescue teams will treat and remove any injured persons. They may also call upon able-bodied individuals to assist in removing the wounded from the premises.

While law enforcement personnel are still assessing the situation, uniformed security and/or police officers will move through the entire area to ensure the threat is over. For the safety of you and the officers, you may be handcuffed until the incident details are fully known.

How to react when law enforcement arrives:

Remain calm, and follow officers’ instructions

Put down any items in your hands (i.e., cell phones, bags, jackets)

Immediately raise hands and spread fingers

Always keep hands visible

Avoid making quick movements toward officers such as holding on to them for safety

Avoid pointing, screaming and/or yelling

Do not stop to ask officers for help or direction when evacuating, just proceed in the direction from which officers are entering the premises

Once you have reached a safe location or an assembly point, you will likely be held in that area by law enforcement until the situation is under control, and all witnesses have been identified and questioned. Do not leave until law enforcement authorities have instructed you to do so.

To best prepare for an active assailant/physical threat situation, local law enforcement can educate and train students on this plan. Training and exercises will prepare us to effectively respond and help minimize loss of life.

### Components of Training Exercises

#### Preparedness

Educate students through workshops, seminars, lectures, and any other opportunity to teach about the hazards of an active assailant/physical threat and ways each person can potentially react to such a situation

Supplement in-person instructional elements with additional information to reinforce the training

Such material may be distributed in a variety of ways, including but not limited to web pages, social media, printed literature, radio/TV, etc.

#### Prevention

Foster a respectful school community

Be aware of indications of violence and take remedial actions accordingly (i.e. If you see something, say something)

Recognizing indicators for potential violence by an individual:

Increased use of alcohol and/or illegal drugs

Unexplained increase in absenteeism; vague physical complaints

Noticeable decrease in attention to appearance and hygiene

Depression/withdrawal

Resistance and overreaction to changes in policy and procedures

Repeated violations of District policies

Increased severe mood swings

Noticeably unstable, emotional responses

Explosive outbursts of anger or rage without provocation

Suicidal; comments about “putting things in order”

Behavior which is suspect of paranoia, (“everybody is against me”)

Increasingly talks of personal problems

Talk of severe financial problems

Talk of previous incidents of violence

Empathy with individuals committing violence

Increase in unsolicited comments about firearms, other dangerous weapons, and violent crimes

## Bomb Threat or Explosion

### General

A Bomb Threat may result from the discovery of a suspicious package on or near District property or receipt of a threatening phone call that may indicate the risk of an explosion.

In the event that the District receives a bomb threat by telephone, follow the Bomb Threat Checklist on the next page to document information about the threat. Keep the caller on the telephone as long as possible and listen carefully to all information the caller provides. Make a note of any voice characteristics, accents, or background noises and complete the Bomb Threat Report as soon as possible.

### Person Receiving Threat by Telephone

Listen. Do not interrupt caller

Keep the caller on the line with statements such as "I am sorry, I did not understand you. What did you say?ʺ

Alert someone else by prearranged signal to notify the telephone company to trace the call while the caller is on the line

Notify senior executive immediately after completing the call

### Person Receiving Threat by Mail

Note the manner in which the threat was delivered, where it was found and who found it

Limit handling of item by immediately placing it in an envelope so that fingerprints may be detected. Written threats should be turned over to law enforcement

Caution students against picking up or touching any strange objects or packages

Notify Senior Executive or designee

### Incident Command Actions

Call 911

If the caller is still on the phone, contact the phone company to trace the call. Tell the telephone operator the name of the District, name of caller, and phone number on which the bomb threat came in. This must be done quickly since the call cannot be traced once the caller has hung up

Instruct students to turn off any pagers, cellular phones, or two-way radios. Do not use those devices during this threat since explosive devices can be triggered by radio frequencies

Determine whether to evacuate the threatened building and adjoining buildings

If the suspected bomb is in a corridor, modify evacuation routes to bypass the unsafe area

Use the intercom, personal notification by designated persons, or the PA system to evacuate the threatened rooms

If it is necessary to evacuate the entire school site, use the fire alarm

Notify the Senior Executive of the situation

Direct a search team to look for suspicious packages, boxes, or foreign objects

Do not return to the threatened building until it has been inspected and determined safe by proper authorities

Avoid publicizing the threat any more than necessary

### Search Team Actions

Use a systematic, rapid, and thorough approach to search the building and surrounding areas

Check the school site work areas, public areas (foyers, offices, bathrooms, and stairwells), unlocked closets, exterior areas (shrubbery, trash cans, debris boxes), and power sources (computer rooms, gas valves, electric panels, telephone panels)

If suspicious item is found, make no attempt to investigate or examine object

### Staff Actions

Evacuate students as quickly as possible, using primary or alternate routes

Upon arrival at the designated safe site, take attendance. Notify Incident Command of any missing students

Do not return to the building until emergency response officials determine

## Civil Disobedience or Disturbance

Classrooms are often the first setting in which students learn what it means to be civically engaged; and when students choose to use demonstrations and protests as a tool for civic engagement, school buildings, grounds, and communities are often selected as the setting. The response of students across the country to the February 14, 2018, active shooter situation at Marjory Stoneman Douglas High School in Parkland, Florida, has drawn attention to one type of student demonstration and protest in particular—school walkouts—and the need for education agencies to prepare and respond.

Civil disobedience or rioting typically occurs when a large gathering of students become out of control and participate in violent or non-violent activities. Keeping the majority of students not involved in this type of illegal activity isolated and away from activity is imperative in bringing these actions under control.

### Procedure:

Upon witnessing civil disobedience of this nature, staff takes steps to calm and control situation and attempt to isolate those involved from each other

If the gathering of students becomes too large or difficult to control, other staff should attempt to calm and control those students not involved and get them on their way to class or off campus if incident is after school.

While doing this, attempt to locate and identify witnesses who may provide information for Administrators and/or Police.

Staff immediately notifies Administrator and/or Police Officer via two-way radio or phone

School Administrator and/or Police Officer assesses situation and calls Police Department for additional officers. Continued assessment is necessary for deployment of additional officers to respond and possible assistance from other agencies. District personnel and/or officers on scene will call 911.

School Administrator initiates appropriate Response Actions, which may include Secure School Perimeter, Shelter-In-Place, Lock Down, Evacuate Building or Off-Site Evacuation

Secure all gates and entrances to the campus

Only authorized personnel are to be allowed in or out of the site

Sign-in and Sign-out all authorized visitors noting date and time, telephone number and reason for visit

During passing periods, all staff should be on campus supervising, while teachers stand at the doorways to their classrooms watching and supervising students.

Staff is to report any suspicious activity, break up groups of students loitering and listen for any rumors or reports of possible ongoing activity by students. Maximum supervision by staff is recommended during student lunch periods.

School Site Parent Groups may be contacted to assist with supervision and help monitor activity

Notify appropriate District Personnel for additional supervision assistance as needed.

## Earthquake

### Duck, Cover, and Hold

This action is used to protect students and staff from flying or falling debris. Upon the first indication of an earthquake, staff should direct students to Duck, Cover, and Hold.

The Incident Commander will make the following announcement on the PA System:

“ATTENTION PLEASE. DUCK, COVER AND HOLD. DUCK, COVER, AND HOLD. ADDITIONAL INFORMATION TO FOLLOW.”

Note: If the PA system is not available, use other means of communication, i.e. send messengers to deliver instructions, email, etc.

### Description of Action

#### If inside

Drop to knees

Get under desk and remain facing away from windows

Clasp both hands behind neck

Bury face in arms

Make body as small as possible

Close eyes and cover ears with forearms.

#### If outside

Drop to knees

Clasp both hands behind neck

Bury face in arms

Make body as small as possible

Close eyes and cover ears with forearms.

Avoid glass and falling objects

### Procedures

Avoid glass and falling objects. Move away from windows, heavy suspended light fixtures, and other overhead hazards.

When the shaking stops, the Incident Commander will issue the All-Clear Response

Use prescribed routes and proceed directly to the Assembly Area. Teachers shall notify the Student Attendance/Release Team of missing students.

The Incident Commander to direct the Security Team to post guards a safe distance away from building entrances to prevent access.

Warn all personnel to avoid touching fallen electrical wires.

First Aid Team will check for injuries and provide appropriate first aid.

The Incident Commander will direct the Facility Team to turn off water, gas, and electrical and to alert appropriate utility company of damages, if appropriate.

If the area appears safe, the Search and Rescue team will be cleared by the Incident Commander to make an initial inspection of the District’s buildings, if needed.

The Incident Commander will contact the DEOC Director to determine if additional actions are deemed necessary.

### During Non-Operating Hours

The Incident Commander and Identified Maintenance/Facilities Personnel will assess damages to determine needed corrective actions. For apparent damages, contact the to determine if the District should be closed.

If the District must be closed, notify staff and students as identified in District Closure Response Procedure.

## Extreme Heat and Unhealthy Air Quality

### Purpose

The purpose of this annex is to ensure that staff is advised of hazardous conditions caused by extreme heat conditions and/or unhealthy air quality and to minimize exposure to those conditions. Governmental agencies, such as the Air Quality Management District (AQMD), the National Weather Service (NWS-NOAA), the Center for Disease Control (CDC) and others provide guidance in how to respond to unhealthful air quality and extreme heat conditions.

### Actions

The Incident Commander monitors air quality and heat conditions to provide recommended actions during an unhealthful air quality or extreme heat event. The Incident Commander will keep the Senior Executive or designee informed of these conditions and activate this annex. Upon activation, site administrators will perform the following:

Notify students and staff when unhealthful air quality or extreme heat conditions exist.

Modify District programs and work assignments for the protection of students and staff.

Adhere to the Unhealthful Air Quality and Extreme Heat Plan to correspond with current recommendations of both the AQMD and the NWS.

Cooperate with other governmental agencies and with the total community in matters of critical concern regarding unhealthful air quality and extreme heat.

### District Activities and What To Do During Extreme Heat Conditions.

The National Weather Service (NOAA) provides information on responding to extreme heat conditions. The Incident Commander monitors temperature and humidity in the District and the National Weather Service website to ensure that our District sites are notified upon attainment of an extreme heat condition.

Always provide adequate amounts of water to students and staff to maintain appropriate hydration, use areas shaded from the direct sunlight, and:

When the Heat Index reaches the range of 90 to 105 degrees Fahrenheit, sunstroke, heat cramps, and heat exhaustion are possible. Everyone shall minimize prolonged, vigorous outdoor activity.

When the Heat Index reaches the range of 105 to 130 degrees Fahrenheit, sunstroke and heat exhaustion are likely and heat stroke is possible. Everyone shall discontinue prolonged, vigorous outdoor activity.

When the Heat Index reaches or exceeds 130 degrees Fahrenheit, heat stroke is highly likely with continued exposure. Everyone shall discontinue all vigorous outdoor activity.

## Fire - Structural

The following procedure addresses the necessary actions that should be taken if a fire is discovered in or on the District’s facilities. A timely response to this situation is critical to prevent injuries and further property damage.

### Procedure

NOTE – There are cases during Active Assailant incidents where the assailant may trigger the fire alarm. This is done as a means to induce students and staff to evacuate which may provide the assailant with more “targets.” Modified responses to a fire alarm should be discussed with your local fire and law enforcement jurisdictions to coordinate best practices for your district.

- If a fire is discovered on site, the administrative staff will immediately signal the fire alarm and direct students out of the building.

  - The Incident Commander will call 911 and provide the location and nature of the incident

- The Incident Commander will immediately initiate the Off-Site Evacuation Procedures

  - Staff and students will evacuate buildings using pre-designated routes or other safe routes and convene at the Assembly Area

- Site staff members must bring their student rosters and take attendance at the Assembly Area to account for all students

  - Staff will notify the Incident Commander of any missing students

- If safe to do so, staff will use fire extinguishers to suppress the fire until the local fire department arrives

  - All fires, regardless of size, which are extinguished by site personnel, require a call to the responding Fire Department to indicate “the fire is out”

- The Incident Commander will secure the area to prevent unauthorized entry and keep access roads clear for emergency vehicles

- The Incident Commander will notify the Senior Executive of the fire. The Senior Executive should work with the Public Information Officer

- Outreach and Communication to disseminate information

  - If necessary, the Incident Commander will notify appropriate Transportation official to request transportation for student and staff evacuation.

Any affected areas will not be reopened until the Fire Department or the appropriate agency provides clearance, and the Incident Commander issues authorization to do so. For fires during non-school hours, the Incident Commander and the Senior Executive will determine if the school site will open the following day.

## Fire – Forest, Wildfire, or Urban Interface

### General

Fires can happen in almost any place, at any time, in almost any condition or circumstance as long as there is fuel, oxygen, and heat. While District’s are required to have regularly scheduled fire drills by California law it is easy to overlook the risks associated with poor housekeeping, excessive and dried wildland shrubs, and trees close to the District sites and many other factors. The damage caused by fire is real and serious, but the potential hazard of smoke can sometimes be even worse.

### Fire in Surrounding Area

The following procedure addresses actions that should be taken in the event that a fire is discovered in an area nearby District grounds. The initiated response actions should take into consideration the location and size of the fire, its proximity to the District site, and the likelihood that the fire may affect the District.

### Incident Command Actions

#### Before

- Review and update the “Recovery” Annex located in your Functional Annex following current State and Federal “Best Practices” guidelines

- Locate and participate in CSTI’s course, “Recovery From Disasters: The Local Community Role (G-205)

- Identify and include your “whole community” in strengthening your Pre-Disaster Recovery framework

#### During

- Call 911 if you see a fire or flames.

- Activate and follow your Emergency Operations Plan.

- Use your internal Emergency Management Alert System to communicate with staff, students, and parents.

- Always follow instructions from your local emergency agencies (Fire and Law Enforcement).

- If trapped, call 911 and give your location, but be aware that emergency response could be delayed or impossible. Turn of HVAC and natural gas.  Turn on lights to help rescuers find you if you have power. Fill sinks and tubs with water and keep windows and doors unlocked.

- Ensure you have a representative designated to be in contact with Cal OES (may be specific to your region) and your local EOC

- You might consider predesignating a representative to be an active member of the Recovery task force.

- If your site is a designated shelter or evacuation point, follow the instructions of the organization or agency that is managing the site (i.e.: American Red Cross).

- Follow the Cal/OSHA Protection from Wildfire Smoke regulation, Title 8, Section 5141.1 for use of N95 respirators.  https://www.dir.ca.gov/title8/5141_1.html. and you can find resources on wildfire smoke safety in this Cal/OSHA link.  https://www.dir.ca.gov/dosh/Worker-Health-and-Safety-in-Wildfire-Regions.html

- Monitor the Air Quality Index (AQI) at www.airnow.gov and enter the zip code of the location where you will be working.  The current AQI is also available from the U.S. Forest Service at https://tools.airfire.org/  or a local air district, which can be located at www.arb.ca.gov/capcoa/dismap.htm

- Listen to EAS, NOAA Weather Radio, or local alerting systems for current emergency information and instructions.

- If you are not ordered to evacuate but smoky conditions exist, stay inside in a safe location, or go to a location where smoke levels are lower, if possible.

- Avoid vigorous activities outdoors and if travelling in a vehicle in the areas affected, close windows and make sure air is on “re-circulate” mode.

#### After

- Continue to follow your EOP Recovery Annex

- Listen to authorities to find out when it is safe to return and whether water is safe to drink.

- Avoid hot ash, charred trees, smoldering debris, and live embers. The ground may contain heat pockets that can burn you or spark another fire. Consider the danger to pets and livestock.

- Avoid downed power lines.

- Send text messages or use social media to reach out to family and friends. Phone systems are often busy following a disaster. Make calls only in emergencies.

- For those that are part of the damage assessment team, ensure training on personal protective equipment (PPE) use is conducted.

- Continue to monitor the Air Quality Index (AQI) at www.airnow.gov and enter the zip code of the location where you will be working.  The current AQI is also available from the U.S. Forest Service at https://tools.airfire.org/  or a local air district, which can be located at www.arb.ca.gov/capcoa/dismap.htm

- Contact your insurance company/insurance pool/JPA for assistance.

- Document everything you do related to the fire.  For more details on this process, refer to the IMReady FEMA document.

- Wildfires dramatically change landscape and ground conditions, which can lead to increased risk of flooding due to heavy rains, flash flooding and mudflows. Flood risk remains significantly higher until vegetation is restored — up to 5 years after a wildfire.

- Be prepared to provide emotional and wellbeing services and resources for students and staff.   Mental and physical fatigue are common in these situations .

- https://www.cdc.gov/disasters/wildfires/afterfire.html  and https://emergency.cdc.gov/coping/index.asp and  www.NCTSN.org.

- Any responsible person who observes a fire in the area outside of the District should immediately call 911 and notify the Incident Commander

- The Incident Commander will initiate the appropriate Immediate Response Actions, which may include Shelter-in-Place, On-Site Evacuation, or Off-Site Evacuation

- The Incident Commander will call 911 (to verify – good redundancy) and provide the location and nature of the incident

- The Incident Commander will act to prevent students from approaching the fire and keep routes open for emergency vehicles

- The Incident Commander will work with responding emergency personnel to determine if District grounds are threatened by the fire, smoke, or other hazardous conditions

- If the Incident Commander issues the On-Site Evacuation procedure, staff and students will evacuate the affected building(s) using pre-designated routes or other safe routes and convene at the Assembly Area

- All District staff members must bring their student rosters and take attendance at the Assembly Area to account for all students. Staff will notify the Incident Commander of any missing students

- The Incident Commander should monitor local radio stations for emergency information.

- The Incident Commander will notify the Senior Executive of the emergency situation

  - The office of the Senior Executive should work with the Office of Public Information and Communication to disseminate information

- If necessary, the Incident Commander will notify the appropriate Transportation official to request transportation for staff and student evacuation

- The Incident Commander will initiate Off-Site Evacuation procedures, as described in the Evacuation Annex, if warranted by changes in conditions

## Flood

### General

Flooding is a natural feature of the climate, topography, and hydrology, of Joshua Tree and its surrounding areas. Flooding predominates throughout the winter and early spring due to melting snow, breakaway ice, and rainy weather. Flooding could threaten the safety of students and staff whenever storm water or other sources of water threaten to inundate the grounds or building. Flooding may occur if a water pipe breaks, or prolonged rainfall causes urban streams to rise. Flooding may also occur as a result of damage to water distribution systems such as failure of a dam or levee.

### Scope

The annex outlines additional responsibilities and duties as well as procedures for staff responding to a flood near or on center grounds.

### Core Functions

The City Office of Emergency Management, the National Weather Service, and other Federal cooperative agencies have an extensive river and weather monitoring system and provide flood watch and warning information to the center community via radio, television, Internet, and telephone. In the event of a flood, the Incident Commander, or director, will activate the EOP and implement the Incident Command System.

### Incident Command System

The community’s siren acts as a warning system to notify staff and students in case of imminent or confirmed flooding, including that due to dam failure. If there is a loss of power, a compressed air horn or megaphone and two-way radios will serve as backup alerting/communication devices.

### Operational Functions/Procedures That May Be Activated

Operational functions or procedures that may be activated in the event of a flood include the following:

Evacuation

Reverse Evacuation

Relocation

Reunification

Access and Functional Needs Population

Continuity of Operations (COOP)

Psychological Healing

Mass Care

### Activating the District Emergency Operations Center (EOC)

The Incident Commander will determine the need to activate the District’s EOC and transfer incident command responsibilities when first responders arrive. The following actions described are before responders arrive on the scene.

#### Incident Command Actions

Issue stand-by instruction

Determine if evacuation is required

Notify local law enforcement of intent to evacuate, the location of the safe evacuation site, and the route to be taken to that site

Ensure that all students have been evacuated

Issue directed transportation instruction if students will be evacuated to a safer location by means of buses and cars

Ensure that staff and students do not return to the building until proper authorities have determined that it is safe to do so

Determine whether the center will be closed or remain open

Document all actions taken

Follow the District’s Emergency Operations Plan

#### Office/Support Staff Actions

Monitor radio and Internet for flood information and report any developments to the Incident Commander

Review procedures with staff as needed

Disseminate information about the incident and follow-up actions such as relocation site and reunification procedures

Notify relocation centers and determine an alternate relocation center, if needed, if primary and secondary centers would also be flooded

Take appropriate action to safeguard property

Document all actions taken

### Staff Actions

Execute evacuation procedures when instructed

Take the roster and emergency kits. Take attendance before leaving the site

Remain with students throughout the evacuation process

Upon arrival at the safe site, take attendance. Report any missing or injured students

Do not return to the building until it has been inspected and determined safe by proper authorities

Document all actions taken

## Hazardous Materials Incident (HazMat)

### Goals

Store all hazardous materials on site to prevent spills or releases.

Keep students away from spills or releases of hazardous materials.

Clean up spill/release of hazardous materials and properly dispose of resulting hazardous waste.

### Objectives

Provide training on proper storage of hazardous materials to all staff that handle them.

Establish evacuation or shelter in place procedures for keeping students away from spills or releases of hazardous materials.

Have trained staff or licensed clean up company remediate spill/release of hazardous materials.

### General

A Hazardous Materials Incident covers a fairly broad area and can be quite complex. For planning purposes, we will consider hazardous materials as any chemical-based substance which, when released inadvertently, can cause harm to the environment and injury or possibly death to humans.

### On-Site HazMat Incident

Notify Incident Commander

Follow Evacuation Procedures

Call 911

Incident Commander will notify the Senior Executive

Incident Commander should have the following available for the fire department upon their arrival:

Location and type of hazardous material, if known (locate Safety Data Sheet and provide to responders)

Knowledge of anyone remaining in the building

Floor plans and internal systems information

### Off-Site HazMat Incident

Upon notification by authorities of a hazardous material accident which could affect the District, the Incident Commander will ensure:

HVAC power is Shut off

Commoditization to staff that all windows and doors must remain closed until further notice

Senior Executive staff has been notified

Communication with emergency responders is maintained

## Infectious Disease

### Purpose

The purpose of the Infectious Disease annex is to help equip our organization to be ready for the unexpected – before, during, and after an infectious disease outbreak. This annex does note replace the required Injury and Illness Prevention Program (IIPP) or other health and safety orders relevant to California Occupational Safety and Health Administration (Cal OSHA) or California Department of Public Health (CDPH)requirements.

Following are two current and specific requirements:

- COVID-19 Safety Plan (CSP) – The CSP is outlined in the CDPH Guidance and Framework for K-12 schools dated January 14, 2021

- The COVID-19 Prevention Plan (CPP) – The CPP is a requirement of the Cal/OSHA COVID -19 Prevention emergency temporary standard.

Infectious diseases occur, often with little or no warning. Essentials that need to be considered include the following:

EOPs may have to be activated with community partners if there is an infectious disease outbreak;

Rapid evolution and dissemination of information about an infectious disease incident will likely require activation of the Communication Annex;

Extensive absences may cause normal operations to close for days or weeks, calling for the activation of the Continuity of Operations (COOP) Annex;

Depending on the disease, there may potentially be some deaths in the community; and,

If handled poorly, community trust in our organization is likely to be shaken.

### Disease Sources

Infectious diseases are illnesses that are transmitted from one person to another through various routes. These infectious diseases can be viral, bacterial, or fungal. Some of the more common infectious diseases that may affect us are:

Gastroenteritis; norovirus; influenza; chicken pox; and hand, foot, and mouth, which are all caused by a viral infection,

Bacterial infections that can cause E. Coli, MRSA, and strep throat, and

Fungal infections, like ringworm.

Influenza, one of the most common infectious diseases, is a highly contagious viral disease. Pandemic influenza differs from both seasonal influenza (flu) and avian influenza in the following aspects:

It is a rare global outbreak which can affect populations around the world.

It is caused by a new influenza virus to which people do not have immunity

Depending upon the specific virus, it can cause more severe illness than regular flu

Influenza can affect young healthy people more so than older, sick people. The Department of Health and Human Services will take the lead in mobilizing a local response to pandemic influenza. Public health alerts will be reported to our organization and the community. Individual rooms, hallways or, if necessary, entire sites may be closed temporarily to contain spread of the virus.

While influenza is the most common infectious disease there are others that can greatly affect our operations, including reduction in work force size to levels that make it difficult to fulfill organizational or operational mission objectives. The “Historical Information” section of this annex identifies some of the major infectious diseases that have affected us in the near past.

### Rate of Spread

Infectious diseases may be categorized according to the rate at which they infect the population. The U.S. Centers for Disease Control and Prevention (CDC) categorizes the rate at which diseases are spread as a continuum from smallest to largest: case, outbreak, epidemic, and pandemic.

#### Case

A case is defined as an individual with the disease.

#### Outbreak

An outbreak is defined as a localized, as opposed to a generalized, epidemic. This term is also used synonymously with epidemic, and is sometimes the preferred word, as it may prevent sensationalism associated with the word epidemic.

#### Epidemic

An epidemic is defined as the occurrence of more cases of disease than expected in a given area or among a specific group of people over a period.

#### Pandemic

A pandemic is defined as an epidemic occurring over a very wide area (several countries or continents) and usually affecting a large proportion of the population.

### Situation and Assumptions

The World Health Organization (WHO) provides an influenza pandemic alert system, with a scale ranging from Phase 1 (a low risk of a flu pandemic) to Phase 6 (a full-blown pandemic). See Figure 1, below.

Phase 1:	A virus in animals has caused no known infections in humans.

Phase 2:	An animal flu virus has caused infection in humans.

Phase 3:	Sporadic cases or small clusters of disease occur in humans. Human-to-human transmission, if any, is insufficient to cause community-level outbreaks.

Phase 4:	The risk for a pandemic is greatly increased but not certain.

Phase 5:	Spread of disease between humans is occurring in more than one country of one WHO region.

Phase 6:	Community-level outbreaks are in at least one additional country in a different WHO region from phase 5. A global pandemic is under way.

#### Figure 1: Infectious Disease Phases (WHO)

### Concept of Operations

We monitor the following levels of activation for our EOP and Emergency Operations Center:

#### Level 3 (lowest level):

This level implies that, with modest augmentation, the lead agency or program can address the primary needs of the response. In the United States, many small natural disasters or environmental responses fall into this activation level.

#### Level 2 (intermediate level):

This level implies substantial augmentation is required for the lead agency or program to meet response requirements.

#### Level 1 (highest level):

This level requires an agency wide response and often includes domestic and international partners. As an example, there have been five Level 1 activations since 2005: Hurricane Katrina (2005), influenza A (H1N1) pandemic (2009–10), Ebola virus disease outbreak (2014–2016), Zika virus outbreak (2016–2017), and Coronavirus Disease 2019 (2019-202?).

### Continuity of Operations (Annex Specific)

### Important Notice

Occupational Health and Safety standards impose additional requirements on employers to protect employees from airborne infectious diseases like COVID-19 and pathogens transmitted by aerosols. Under section 3203 of California’s general industry safety regulations, employers must establish, implement, and maintain an effective Injury and Illness Prevention Program (IIPP) to protect employees from workplace hazards. Employers are required to determine if the infectious disease is a hazard in their workplace. If it is a workplace hazard, then employers must implement infection control measures, including applicable and relevant recommendations from federal, state, and local guidelines. It is the employer’s responsibility to maintain a current and relevant IIPP.

All staff are to be informed regarding protective actions and/or modifications related to this plan. Messaging and risk communications during an emerging infectious disease or pandemic will be conducted by our Emergency Operations Center. Guidance and instructions on established infection control measures such as social distancing, personnel protective equipment and telework polices are provided by our Emergency Operations Center to assist in limiting the spread of influenza at the primary and alternate worksites.

Within the workplace, social distancing measures could take the form of:

Modifying the frequency and type of face-to-face employee encounters (e.g., placing moratoriums on handshaking, substituting teleconferences for face-to-face meetings, staggering breaks, posting infection control guidelines);

Establishing flexible work hours or worksite, (e.g., telecommuting);

Promoting social distancing between employees and those with whom they interact to maintain six-feet spatial separation between individuals; and

Implementing strategies that request and enable employees with influenza to stay home at the first sign of symptoms.

Frequent, daily contact is important to keep our employees informed about developments in our response, impacts on the workforce, and to reassure employees that we are continuing to function as usual.

When necessary, our planners and pandemic response teams will include deliberate methods to measure, monitor, and adjust actions to changing conditions and improved protection strategies.

Implement a formal worker and workplace protection strategy with metrics for assessing worker conformance and workplace cleanliness.

Monitor and periodically test protection methods.

Track and implement changes in approved or recommended protection measures.

Pre-position material and equipment onsite.

Ensure essential personnel are at the primary worksite.

Reaffirm that essential suppliers have their material and personnel on-hand and can respond, and support as planned.

Coordinate with local public health and emergency response points of contact to ensure open, adequate communications.

### Organization and Assignment of Responsibilities

We utilize the Standardized Emergency Management System (SEMS) which incorporates the Incident Command System (ICS) as the method of managing a crisis or event until operations return to “normal.” This includes activation, when necessary, of incident command posts and the activation of our EOC.

### Plan Development

During the health crisis it is vital that we capture lessons learned and alternative practices to our operations as they occur

Maintain a central depository for this information to use it following the crisis to update this annex and our EOP in general

It is our intent to review our EOP and annexes at least annually and update as necessary to maintain a best-practices EOP

We will share this annex periodically with our Health partners to ensure it has captured the most current trends and practices

### Authorities and References

In the United States, the responsibility for public health rests primarily with city or county and state public health agencies. All states and many large counties and cities have their own public health departments. Although many public health investigations are conducted with local resources, a city, county, or state health department can request field epidemiologic or laboratory assistance from the next higher-level public health agency in response to a large or complex outbreak or problem that requires additional staff, expertise, or other resources.

In the United States, the Centers for Disease Control and Prevention (CDC) is the highest-level public health agency. Federal prisons, military bases, and tribal reservations have their own independent health systems but also can request assistance from CDC. Globally, countries can request assistance for field investigations from the World Health Organization, which coordinates with its members for needed resources. The Centers for Disease Control and Prevention (cdc.gov) contains the most current and relevant information on specific exposures and the appropriate practices and protocols.

### Incident Command Actions

#### Before

One of the best things to do prior to an infectious disease incident is to identify, collect, and maintain current and relevant contact information of organizations and agencies that will be important to our ongoing operations. These should include local, state, and federal public health jurisdictions such as:

Your local health department contact

(Searchable database https://www.naccho.org/membership/lhd-directory)

California Department of Public Health – https://www.cdph.ca.gov/

Centers for Disease Control and Prevention (CDC) - https://www.cdc.gov/

Building and maintaining relationships with local health officials cannot be over emphasized. This effort before an infectious disease outbreak will prove invaluable as we seek support and guidance in maintaining, shutting down, and resuming operations.

In addition to this practice, it is important to identify and document operational norms and standards that you maintain on an ongoing basis. These records will greatly help you resume operations following a major infectious disease event.

#### During

We activate our Emergency Operations Plan at a level sufficient to stay ahead of issues as much as possible including the activation of:

Communication annex

Continuity of Operations Plan (COOP) annex

Additional actions include:

Maintain contact with our local Health Department and coordinate our actions based upon their recommendations

Collect preventive informational flyers and documents and disseminate to staff and/or students, as relevant

Activate heightened surveillance of illness within our sites. Gather data on symptoms of all students and/or staff who are sick at home.

Insure those who are ill stay home

Send the sick home immediately

Provide fact sheets and guidelines for families to make them aware of symptoms and remind them of respiratory hygiene etiquette

Monitor bulletins and alerts from the Department of Health and Human Services

Keep staff and students informed of developing issues

Assist the Department of Health and Human Services in monitoring outbreaks

Respond to media inquiries regarding organization attendance status

Implement telework procedures, if necessary, so that staff can stay home

Maintain surveillance after the initial epidemic in the event a second wave passes through the community

#### After

As with any major crisis or incident the major goal of our institution is to get things back to “normal.” This means restoration of our primary operations back to pre-incident or event levels. This is most effectively accomplished when there are accurate and well-maintained records and practices in place that help us on this recovery journey. Following are key concepts and actions that should be considered in getting back to “normal.”

### COVID-19 Specific Guidance

## Landslides & Debris Flow

Landslides occur in all U.S. states and territories and can be caused by many factors including earthquakes, storms, volcanic eruptions, fire, and human modification of land. The deadliest landslides are the ones that occur quickly, like debris flows, often with little notice. Whether you are at work or at home, the best way to prepare is to stay informed, and understand when a dangerous landslide is likely to occur.

In a landslide, masses of rock, earth or debris move down a slope. Debris and mud flows are rivers of rock, earth, and other debris saturated with water. They develop during intense rainfall, runoff, or rapid snowmelt, changing the earth into a flowing river of mud or “slurry.” They can flow rapidly, striking with little or no warning at avalanche speeds (faster than a person can run). They also can travel many miles from their source, growing in size as they pick up trees, boulders, cars, and other materials. Debris flows don’t always stay in stream channels and they can flow sideways as well as downhill.

When a wildfire burns a slope, it increases the chance of debris flows for several years. Although some landslides require lengthy rain and saturated slopes, a debris flow can start on a dry slope after only a few minutes of intense rain. “Intense” rain means a burst of rain at a fast rate, about half an inch in an hour. With debris flows, the rate matters more than total rainfall.

How to protect staff, students and property depends on the type of landslide. Land-use zoning, professional inspections, and proper design can reduce many landslide problems, but evacuation is often the only way to protect lives from a debris flow or other fast-moving landslide. Never ignore an evacuation order.

### Before a Landslide

The following are things we can do to protect staff, students, visitors, and property from the effects of a landslide or debris flow:

To begin preparing, build an emergency kit and make sure our Communications Annex is up to date.

Connect with our local emergency services, heed evacuation warnings.

Leave if we have been told to evacuate or we feel it is unsafe to remain at our site. Text SHELTER + your ZIP code to 43362 (4FEMA) to find the nearest shelter in your area (example: shelter 12345).

Prepare for landslides by following proper land-use procedures - avoid building near steep slopes, close to mountain edges, near drainage ways or along natural erosion valleys.

Become familiar with the land around us. Learn whether landslides have occurred in our area by contacting local officials. However, don’t assume that what happened last time will happen next time. Debris flows can start in places they’ve never been and return to slopes where they’ve already been.

Get an assessment of our District’s property by a qualified geotechnical professional.

Consult a professional for advice on appropriate preventative measures for our District’s sites.

Protect District property based on the recommendations from the ‘qualified geotechnical professional’ and/or local city/county guidance on protection from debris flow and flooding. We can't stop or change the path of a debris flow. However, we may be able to protect District property from floodwaters or mud by use of sandbags, retaining walls or k-rails (Jersey barriers).

In mud and debris flow areas, consider building channels or deflection walls to try to direct the flow around buildings. Be aware, however, that when a flow is big enough, it goes where it pleases. Also, if  we divert the flow and it flows onto property owned by others, we may be liable for damages.

### Recognize Warning Signs

Watch for debris flows and other fast-moving landslides that pose threats to life:

If you are near a wildfire burn area, sign up for emergency alerts and pay attention to weather forecasts for the burn area. The weather in the burn area could be very different from where you are.

Listen and watch for rushing water, mud, unusual sounds.

Unusual sounds, such as trees cracking or boulders knocking together, might indicate moving debris.

A faint rumbling sound that increases in volume is noticeable as the landslide nears.

Fences, retaining walls, utility poles, k-rails, boulders, or trees move.

Huge boulders in the landscape can be signs of past debris flows.

Watch for slow-moving landslides that pose threats to District property:

Changes occur in landscape such as patterns of storm-water drainage on slopes (especially the places where runoff water converges) land movement, small slides, flows, or progressively leaning trees.

Doors or windows stick or jam for the first time.

New cracks appear in plaster, tile, brick, or foundations.

Outside walls, walks, or stairs begin pulling away from the building.

Slowly developing, widening cracks appear on the ground or on paved areas such as streets or parking lots.

Underground utility lines break.

Bulging ground appears at the base of a slope.

Water breaks through the ground surface in new locations.

Fences, retaining walls, utility poles, or trees tilt or move.

The ground slopes downward in one direction and may begin shifting in that direction under your feet.

### During a Landslide

Activate our Emergency Operations Plan and follow the plan concerning all notifications and communications.

Listen to local news stations on a battery-powered radio for warnings.

Heed all warnings and evacuation notices.

Be aware that by the time you are sure a debris flow is coming, that will be too late to get away safely. Never cross a road with water or mud flowing. Never cross a bridge if you see a flow approaching. It can grow faster and larger too quickly for you to escape.

If you do get stuck in the path of a landslide move uphill as quickly as possible.

Avoid river valleys and low-lying areas during times of danger.

If you are near a stream or channel, be alert for any sudden increase or decrease in water flow or water that changes from clear to muddy. These can be signs that a landslide is coming.

### After a Landslide

Stay away from the slide area. There may be danger of additional slides.

Listen to local radio or television stations for the latest emergency information.

Watch for flooding. Floods sometimes follow landslides and debris flows because they may both be started by the same conditions.

Check for injured and trapped persons near the slide, without entering the direct slide area. Direct rescuers to their locations.

Report broken utility lines and damaged roadways and railways to appropriate authorities. Reporting potential hazards will get the utilities turned off as quickly as possible, preventing further hazard and injury.

Allow trained professionals to check the building foundations, and surrounding land for damage.

Replant damaged ground as soon as possible since erosion caused by loss of ground cover can lead to flash flooding and additional landslides in the near future.

Seek advice from a geotechnical expert for evaluating landslide hazards or designing corrective techniques to reduce landslide risk. A professional will be able to advise you of the best ways to prevent or reduce landslide risk, without creating further hazard.

## Power/Utility Failure

Extended power outages may impact the whole community and the economy. A power outage is when the electrical power goes out unexpectedly. A power outage may:

Disrupt communications, water, and transportation

Close retail businesses, grocery stores, gas stations, ATMs, banks, and other services

Cause food spoilage and water contamination

Prevent use of medical devices

### Protect Students And Staff During A Power Outage

Keep freezers and refrigerators closed

Only use generators outdoors and away from windows or air intakes

Do not use gas appliances for heating

Disconnect appliances and electronics to avoid damage from electrical surges

Have alternate plans for refrigerating medicines or using power-dependent medical devices

If safe, go to an alternate location for heat or cooling

### Electrical Systems

The M&O Department should identify the location of all electrical main and subpanels throughout the site

Use a clean and clear site map of each site and label the map “Electrical Systems Field Operations Guide” (known as the Electrical Systems FOG)

Indicate the locations of the main electrical shut-off and each sub-panel main shut-off in the Electrical Systems FOG

Include a photo of each panel and label the photos corresponding to the panel numbers

If panels do not have a numeric identifier, consider adding that at all panel locations

Label the site main and subpanel main shut-off for each panel so as to minimize confusion

Laminate or plastic-protect the Electrical Systems FOG and provide to designated and trained employee(s) who will be responsible for emergency shutdown and restoration following an electrical failure

### Backup Supplies and Other Resources

Identify all of the items needed that rely on electricity

Identify and have emergency plans for students or staff relying upon medical devices powered by electricity and refrigerated medicines

Find out how long medication can be stored at higher temperatures and get specific guidance for any medications that are critical for life

Plan for batteries and other alternatives to meet our needs when the power goes out

Sign up for local alerts and warning systems. Monitor weather reports

Ensure that any carbon monoxide detectors are in working order and that battery backups are available

Determine whether the phone system will work in a power outage and how long battery backup will last

Review the supplies that are available in case of a power outage

Have flashlights with extra batteries available for individual rooms or offices without exterior light sources

Maintain an inventory of nonperishable food and water

Regularly check the thermometer in the refrigerator and freezer so that we can know the temperature when the power is restored. Throw out food if the temperature is 40 degrees or higher

Keep mobile phones and other electric equipment charged and gas tanks full

### Survive During

When power goes out, a trained and responsible employee should:

Keep freezers and refrigerators closed. The refrigerator will keep food cold for about four hours. A full freezer will keep the temperature for about 48 hours. Use coolers with ice if necessary. Monitor temperatures with a thermometer.

Maintain food supplies that do not require refrigeration

Avoid carbon monoxide poisoning. Generators and any fuel or gas-powered devices should always be used outdoors and at least 20 feet away from windows

Turn off or disconnect all appliances, equipment, or electronics. Power may return with momentary “surges” or “spikes” that can cause damage

### Power Restoration

When in doubt, throw it out! Throw away any food that has been exposed to temperatures 40 degrees or higher for two hours or more, or that has an unusual odor, color, or texture

If the power is out for more than a day, discard any medication that should be refrigerated, unless the drug’s label says otherwise. If a life depends on the refrigerated drugs, consult a doctor or pharmacist, and use medicine only until a new supply is available

## Severe Weather

### General

The State of California is vulnerable to a variety of severe weather hazards. This incident annex addresses the hazards associated with severe weather.

### Hazard Analysis

#### Severe Thunderstorms

The National Weather Service (NWS) defines a severe thunderstorm as any storm that produces one or more of the following: a tornado, damaging wind speeds of 58 mph (50 knots) or greater, and/or hail 1 inch in diameter or larger.

#### Hail

Hail is considered severe when it reaches 1 inch in diameter. Hail can reach sizes much larger than the severe threshold size. Hail causes close to $1 billion in damage to property and crops each year in the U.S. While property is typically at greatest risk for hail damage, the National Oceanic and Atmospheric Administration (NOAA) estimate that 24 people are injured from hail each year.

### Incident condition

When severe weather occurs, the impacts can be devastating and may affect isolated locations or multiple jurisdictions simultaneously. When the impacts exceed the capabilities of local jurisdictions, the State must respond in a timely, organized, and efficient manner in order to save lives, mitigate property damage, and restore a sense of normalcy to the community. This response is coordinated through the Governor’s Office of Emergency Services (OES) in concert with local, state, Federal, volunteer, and private sector partners.

### Planning Facts and Assumptions

Severe weather-related hazards can occur at any time throughout the year

Local jurisdictions adversely affected by severe weather may declare local State of Emergency upon being impacted

Local jurisdictions adversely affected by severe weather may utilize mutual aid agreements as part of their response to the disaster

Local jurisdictions affected by severe weather may request resources from the State as the situation evolves

The Governor may declare a State of Emergency for severely affected areas to enable State resources to rapidly assist affected jurisdictions as needed

## Transportation Incident (Air, Sea, Land)

### Background

Transportation systems have been the source of some of the modern era’s biggest disasters. The September 11th attacks exploited the air transportation system to inflict catastrophic damage on New York and the Washington D.C. area. Air, marine, and surface systems have all produced high casualty count disasters.

Much of the vulnerability to transportation accidents is built into a community’s transportation infrastructure. Some transportation accidents could fall under multiple categories. For example, the explosion of a fuel tanker on a bridge could fall under this section, hazardous materials, fires, or infrastructure failure. An accident doesn’t have to happen locally for it to have a major impact on the community.

#### Air Transport

About 95% of all accidents involve general aviation (private aircraft) and only 5% involve commuter, charter, and scheduled airlines. Almost half (48%) of fatal commercial aircraft accidents occur during the final approach and landing phase of flight. The second most common phase is take off and initial climb (13% of fatal accidents). The FAA acknowledges this danger and requires airports to create special emergency plans that detail how they would respond to a crash within five miles from their boundaries. Nationally, despite the hundreds of thousands of planes that fly over urban areas, the number of crashes that have killed or injured non-passengers is very small.

#### Marine Transport

Maritime accidents include many different mishaps, such as grounding, capsizing, sinking, collision, fire, explosion, and chemical spill. Worldwide, some of the worst maritime accidents have involved the sinking of passenger ferries. Many maritime accidents have a hazardous materials linkage. Great environmental damage has occurred as a result of oil spills.

#### Surface Transport

Accidents on surface streets, highways, and railways can cause multiple fatalities, large hazardous materials releases, and damage to infrastructure. Nationally, large accidents have involved passenger buses, fuel tankers, and train derailments. According to the Federal Highway Administration, the majority of weather-related car accidents happen on wet pavement or in rain.

### Vulnerability

Transportation accidents present two sets of vulnerability. The first is to the vessels and vehicles themselves and the people in them. The second is to everything and everyone around them. People in transit are in an inherently vulnerable position. They are densely packed into vehicles or vessels and then moved at high speed across environments in which they could not often survive without help (e.g. the ocean). When things go wrong, many passengers can get hurt.

As large vehicles and vessels move about, often containing hazardous materials, they are liable to affect people and the built environment around them. Areas near aircraft flight paths, highways, and the shoreline are more likely to be affected by an accident than other areas. Urban areas are inherently vulnerable due to high population density and the cost and complexity of the built environment through which transportation systems run.

### Areas More Prone to Aviation Accidents

The areas that are most likely to be hit are the ones under or close to the flight paths, especially if they are within five miles of an airport.

#### Consequences

Transportation accidents are a classic case of a hazard with a vast number of low-impact events and a minute number of high-impact events. Every year roughly 35,000 – 45,000 people die in transportation accidents in the United States. The clear majority of these are the result of motor vehicle accidents. Most motor vehicle fatalities occur in passenger vehicles and small trucks, and on freeways and principal arterials. While individual accidents are not large incidents, they have a large cumulative impact. The long-term trend has been down. Many programs and regulations have been established to improve safety and the means to handle the most frequent incidents fall well within the scope of daily operations of local government.

Occasionally, larger incidents occur that have a bigger, more lasting impact on the community and challenge the response capabilities of local government. Outlined below are characteristics of what we can expect from the “most likely” large incident and what we can expect from the “maximum credible” scenario.

With so many smaller transportation incidents, the most likely scenario is one that just exceeds the normal response capabilities of local government. This is in contrast to incidents like earthquakes in which individual occurrences are more likely to be high impact.

The most likely scenario would present a slightly higher level of impact. Despite the different transportation modes that might be involved, there are some similarities in impacts.

There is high likelihood of fatalities. This is in contrast to other hazards in which the “most likely” scenario involves a lot more property damage.

The geographic scope would be limited to the immediate scene of the incident with a strong possibility that transportation routes through the impacted area would be blocked. Infrastructure outages are also possible.

The duration of the incident would be limited. It would be likely that rescue and recovery operations could be completed in less than a few days. Transportation and infrastructure outages would also be restored in a similar amount of time.

Neighboring buildings and the people in them will probably be affected to some degree, but the majority of the casualties will be among those in the vehicle or vessel.

Maritime accidents tend to involve more property damage, especially when ships collide with bridges and other infrastructure.

There is a high likelihood of secondary hazards, especially fires and hazardous material spills. Transportation incidents can also be secondary hazards themselves.

Overall, the most likely major transportation incident will be short, but intense. Unless there is major infrastructure damage (i.e., to a bridge) the recovery will probably quick and complete.